## Sheet1
This file contains output power spetra for microscopy light sources, assembled from manufacturer datasheets, unless otherwise noted.
Notes | Generation 1 equipment (not SOLA II), spectrum received from Lumencor 1/21/16 (via Dan Froelich)
Manufacturer | Lumencor | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251) | Lumencor (4251)
Model | SOLA | SPECTRAX_Violet | SPECTRAX_Blue | SPECTRAX_Cyan | SPECTRAX_Teal | SPECTRAX_Green | SPECTRAX_Red | SX_Filter_Violet | SX_Filter_Blue | SX_Filter_Cyan | SX_Filter_Teal | SX_Filter_Green | SX_Filter_Yellow | SX_Filter_Red
Power (mW) | [7 empty] | 266 | 224 | 149 | 62 | 225 | 271 | 224
WL |  | 398/32 | 436/40 | 479/40 | 514/35 | 568/99 | 631/40 | 395/25-FWHM | 440/20-FWHM | 470/24-FWHM | 510/25-FWHM | 550/15-FWHM | 575/25-FWHM | 640/30-FWHM
WaveLength | mW/nm | mW/nm | mW/nm | mW/nm | mW/nm | mW/nm | mW/nm | Trans | Trans | Trans | Trans | Trans | Trans | Trans
300 | 0.23005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
301 | 0.23225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
302 | 0.23447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
303 | 0.2367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
304 | 0.23894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
305 | 0.24119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
306 | 0.24346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
307 | 0.24575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
308 | 0.24805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
309 | 0.25036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
310 | 0.25269 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
311 | 0.25503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
312 | 0.25739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
313 | 0.25976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
314 | 0.26214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
315 | 0.26454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
316 | 0.26696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
317 | 0.26938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
318 | 0.27183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
319 | 0.27428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
320 | 0.27676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
321 | 0.27925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
322 | 0.28175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
323 | 0.28426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
324 | 0.2868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
325 | 0.28934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
326 | 0.29191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
327 | 0.29448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
328 | 0.29708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
329 | 0.29968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
330 | 0.30231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
331 | 0.30494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
332 | 0.3076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
333 | 0.31026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
334 | 0.31295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
335 | 0.31565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
336 | 0.31836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
337 | 0.32109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
338 | 0.32384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
339 | 0.3266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
340 | 0.32938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
341 | 0.33217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
342 | 0.33498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
343 | 0.3378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
344 | 0.34064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
345 | 0.3435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
346 | 0.34637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
347 | 0.34925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
348 | 0.35216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
349 | 0.35508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
350 | 0.35801 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54e-06 | 7.64e-08 | 8.16e-06 | 3.25e-06 | 1.61e-08 | 8.86e-07 | 3.4342e-06
351 | 0.40948 | 0 | 0 | 0 | 0 | 0 | 0 | 2.29e-06 | 5.73e-07 | 6.85e-06 | 2.94e-06 | 9.82e-07 | 1.16e-06 | 8.6579e-08
352 | 0.3924 | 0 | 0 | 0 | 0 | 0 | 0 | 2.23e-06 | 1.34e-06 | 3.28e-07 | 2.87e-06 | 6.13e-08 | 2.82e-07 | 4.6916e-07
353 | 0.39499 | 0 | 0 | 0 | 0 | 0 | 0 | 1.74e-06 | 1.99e-06 | 9.48e-07 | 3.4e-06 | 2.24e-06 | 2.18e-06 | 3.4517e-08
354 | 0.37177 | 0 | 0 | 0 | 0 | 0 | 0 | 1.97e-06 | 1.17e-06 | 3.53e-06 | 4.56e-07 | 2.33e-07 | 2.65e-06 | 1.0137e-06
355 | 0.37531 | 0 | 0 | 0 | 0 | 0 | 0 | 2.78e-06 | 1.48e-07 | 3.16e-07 | 3.22e-07 | 8.56e-07 | 1.98e-06 | 1.7813e-06
356 | 0.40013 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5e-07 | 2.63e-06 | 2.15e-06 | 1.84e-06 | 1.34e-06 | 1.09e-07 | 7.0476e-07
357 | 0.33776 | 0 | 0 | 0 | 0 | 0 | 0 | 3.21e-06 | 3.28e-07 | 4.73e-06 | 2e-06 | 2.05e-06 | 8.64e-07 | 2.7587e-06
358 | 0.34206 | 0 | 0 | 0 | 0 | 0 | 0 | 5.08e-06 | 2.86e-06 | 3.14e-06 | 3.97e-06 | 1.64e-06 | 1.93e-06 | 1.4046e-06
359 | 0.25719 | 0 | 0 | 0 | 0 | 0 | 0 | 1.84e-06 | 3.8e-07 | 4.28e-06 | 6.74e-07 | 7.48e-07 | 3.51e-08 | 2.5813e-06
360 | 0.3637 | 0 | 0 | 0 | 0 | 0 | 0 | 1.58e-06 | 1.74e-06 | 5.29e-06 | 4.06e-06 | 1.83e-06 | 3.57e-06 | 4.5618e-06
361 | 0.39962 | 0 | 0 | 0 | 0 | 0 | 0 | 2.65e-06 | 2.81e-06 | 5.02e-06 | 1.22e-06 | 4.42e-07 | 1.32e-06 | 1.8756e-06
362 | 0.31515 | 0 | 0 | 0 | 0 | 0 | 0 | 5.65e-07 | 3.14e-07 | 8.89e-06 | 2.86e-06 | 1.73e-09 | 2.09e-06 | 3.5873e-07
363 | 0.31739 | 0 | 0 | 0 | 0 | 0 | 0 | 1.97e-08 | 2.41e-06 | 1.77e-05 | 4.35e-06 | 3.32e-07 | 5.71e-07 | 3.7201e-06
364 | 0.3418 | 0 | 0 | 0 | 0 | 0 | 0 | 2.72e-06 | 1.54e-06 | 9.09e-06 | 5.15e-07 | 7.65e-07 | 6.45e-07 | 2.5735e-06
365 | 0.31011 | 0 | 0 | 0 | 0 | 0 | 0 | 3.01e-06 | 7.52e-07 | 4.02e-06 | 1.18e-06 | 7.27e-07 | 9.65e-07 | 1.9027e-06
366 | 0.29404 | 0 | 0 | 0 | 0 | 0 | 0 | 7.99e-07 | 3.84e-07 | 2.32e-06 | 6.69e-07 | 7.42e-07 | 4.03e-07 | 2.5313e-06
367 | 0.29838 | 0 | 0 | 0 | 0 | 0 | 0 | 6.99e-07 | 7.36e-08 | 2.14e-06 | 1.47e-06 | 2.81e-06 | 2.01e-07 | 3.8787e-06
368 | 0.32981 | 0 | 0 | 0 | 0 | 0 | 0 | 4.45e-07 | 2.38e-06 | 2.37e-07 | 2.37e-07 | 1.88e-06 | 2.05e-07 | 5.6103e-08
369 | 0.28843 | 0.00059615 | 0 | 0 | 0 | 0 | 0 | 4.41e-07 | 4.09e-06 | 4.56e-07 | 5.54e-07 | 6.7e-07 | 1.73e-07 | 8.9248e-07
370 | 0.31276 | 0.0040838 | 0 | 0 | 0 | 0 | 0 | 1.82e-06 | 9.81e-07 | 1.77e-06 | 1.79e-06 | 4.37e-06 | 2.6e-06 | 3.379e-06
371 | 0.29839 | 0.011212 | 0 | 0 | 0 | 0 | 0 | 1.6e-06 | 8.24e-07 | 1.51e-06 | 6.52e-07 | 4.43e-07 | 1.64e-06 | 6.731e-07
372 | 0.36546 | 0.022575 | 0 | 0 | 0 | 0 | 0 | 4.63e-06 | 8.84e-07 | 2.17e-07 | 1.1e-06 | 8.02e-07 | 5.48e-07 | 2.8623e-06
373 | 0.35388 | 0.038765 | 0 | 0 | 0 | 0 | 0 | 1.29e-06 | 2.17e-07 | 3.47e-06 | 2.63e-06 | 3.17e-06 | 6.83e-07 | 2.2287e-07
374 | 0.32942 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 2.05e-06 | 2.18e-07 | 3.8e-06 | 9.96e-07 | 5.55e-07 | 1.21e-06 | 5.8771e-07
375 | 0.31028 | 0.2267 | 0 | 0 | 0 | 0 | 0 | 1.46e-06 | 2.61e-06 | 4.96e-06 | 7.15e-07 | 1.05e-08 | 1.03e-06 | 2.4579e-07
376 | 0.35811 | 0.34685 | 0 | 0 | 0 | 0 | 0 | 8.49e-08 | 4.43e-08 | 3.93e-07 | 2.85e-06 | 6.78e-07 | 7.15e-07 | 1.1914e-06
377 | 0.38128 | 0.23184 | 0 | 0 | 0 | 0 | 0 | 1.16e-06 | 2.54e-06 | 9.67e-07 | 1.63e-06 | 3.21e-08 | 1.36e-06 | 1.1019e-06
378 | 0.45509 | 0.32938 | 0 | 0 | 0 | 0 | 0 | 2.08e-06 | 2.29e-06 | 5.31e-06 | 2.55e-07 | 2.09e-07 | 2.1e-06 | 8.2312e-07
379 | 0.53395 | 0.38778 | 0 | 0 | 0 | 0 | 0 | 4.04e-06 | 1.42e-06 | 1.33e-05 | 6.4e-07 | 5.53e-07 | 1.71e-06 | 1.6274e-06
380 | 0.64267 | 0.47427 | 0 | 0 | 0 | 0 | 0 | 4.52e-05 | 1.91e-06 | 1.73e-05 | 1.59e-06 | 1.34e-06 | 1.67e-06 | 3.6931e-07
381 | 0.78887 | 0.53192 | 0 | 0 | 0 | 0 | 0 | 0.000675 | 3.23e-06 | 1.73e-05 | 4.08e-06 | 1.96e-06 | 2.69e-06 | 9.9928e-07
382 | 0.9325 | 0.63025 | 0 | 0 | 0 | 0 | 0 | 0.0168 | 2.29e-06 | 5.76e-06 | 2.84e-07 | 3.93e-07 | 5.74e-07 | 5.0967e-07
383 | 1.1956 | 0.82986 | 0 | 0 | 0 | 0 | 0 | 0.307 | 1.44e-06 | 1.91e-05 | 2.2e-06 | 1.21e-06 | 7.14e-07 | 3.2102e-06
384 | 1.5284 | 1.1554 | 0 | 0 | 0 | 0 | 0 | 0.87753 | 5.83e-07 | 4.47e-05 | 1.24e-06 | 2.82e-07 | 2.57e-06 | 1.9335e-06
385 | 1.898 | 1.4939 | 0 | 0 | 0 | 0 | 0 | 0.94894 | 4.5e-07 | 4.78e-05 | 4.55e-07 | 1.61e-07 | 1.53e-08 | 1.7109e-06
386 | 2.319 | 1.7683 | 0 | 0 | 0 | 0 | 0 | 0.95357 | 2.2e-06 | 4.75e-05 | 1.71e-06 | 5.03e-06 | 1.02e-06 | 2.1311e-07
387 | 2.893 | 2.0381 | 0 | 0 | 0 | 0 | 0 | 0.96611 | 7.4e-07 | 1.77e-05 | 4.42e-06 | 1.02e-06 | 3.03e-07 | 1.6392e-06
388 | 3.6072 | 2.6713 | 0 | 0 | 0 | 0 | 0 | 0.97677 | 5.52e-07 | 4.51e-06 | 1.95e-06 | 1.28e-06 | 9.66e-07 | 1.3024e-06
389 | 4.3315 | 3.7609 | 0 | 0 | 0 | 0 | 0 | 0.97327 | 8.31e-08 | 4.86e-06 | 1e-06 | 1.12e-06 | 2.15e-06 | 1.3585e-06
390 | 5.2398 | 4.6173 | 0 | 0 | 0 | 0 | 0 | 0.97688 | 1.58e-06 | 2.21e-06 | 1.13e-06 | 1.26e-06 | 1.09e-06 | 1.1156e-07
391 | 6.3359 | 5.6275 | 0 | 0 | 0 | 0 | 0 | 0.97715 | 1.33e-06 | 1.97e-06 | 2.37e-06 | 1.59e-06 | 4.29e-07 | 2.0112e-06
392 | 7.606 | 6.5248 | 0 | 0 | 0 | 0 | 0 | 0.97103 | 1.72e-06 | 3.46e-06 | 1.77e-07 | 2.74e-06 | 4.95e-06 | 8.4749e-07
393 | 8.8133 | 7.7702 | 0 | 0 | 0 | 0 | 0 | 0.97326 | 3.14e-06 | 8.14e-06 | 2.68e-06 | 1.31e-06 | 2.45e-07 | 6.0414e-07
394 | 10.2324 | 9.0113 | 0 | 0 | 0 | 0 | 0 | 0.9789 | 7.39e-08 | 8.16e-06 | 3.01e-07 | 8.55e-07 | 1.58e-06 | 5.3718e-07
395 | 11.0014 | 9.6077 | 0 | 0 | 0 | 0 | 0 | 0.9818 | 2.68e-07 | 6.81e-06 | 6.39e-07 | 1.97e-07 | 1.23e-06 | 2.8213e-06
396 | 12.2324 | 9.704 | 0 | 0 | 0 | 0 | 0 | 0.98145 | 1.6e-06 | 1.28e-05 | 9.4e-07 | 1.47e-06 | 2.8e-06 | 1.1165e-06
397 | 13.2572 | 9.0949 | 0 | 0 | 0 | 0 | 0 | 0.98234 | 6.2e-07 | 1.58e-05 | 2.29e-06 | 7.99e-07 | 6.2e-07 | 6.5919e-07
398 | 13.6937 | 8.3699 | 0 | 0 | 0 | 0 | 0 | 0.98193 | 2.51e-06 | 7.39e-06 | 7.24e-07 | 6.61e-07 | 3.13e-06 | 2.6254e-07
399 | 13.5094 | 7.1042 | 0 | 0 | 0 | 0 | 0 | 0.98095 | 7.58e-07 | 1.13e-05 | 3.15e-07 | 5.3e-07 | 2.28e-06 | 4.0194e-07
400 | 13.0214 | 6.2276 | 0 | 0 | 0 | 0 | 0 | 0.97988 | 8.86e-07 | 9.6e-06 | 1.37e-06 | 1.86e-06 | 2.93e-07 | 2.4385e-06
401 | 12.0628 | 5.0006 | 0 | 0 | 0 | 0 | 0 | 0.98104 | 1.85e-06 | 5.47e-06 | 1.14e-06 | 2.19e-06 | 6.52e-07 | 1.3722e-06
402 | 11.078 | 4.1464 | 0.00086582 | 0 | 0 | 0 | 0 | 0.97824 | 3.55e-06 | 7.95e-06 | 2.8e-06 | 8.26e-07 | 1.94e-06 | 3.6663e-06
403 | 9.8324 | 3.7229 | 0.0049286 | 0 | 0 | 0 | 0 | 0.97392 | 7.25e-07 | 2.57e-07 | 1.11e-06 | 2.06e-07 | 1.01e-06 | 8.2018e-07
404 | 8.401 | 3.3015 | 0.012573 | 0 | 0 | 0 | 0 | 0.94886 | 3.44e-07 | 8.92e-08 | 2.89e-06 | 9.01e-07 | 1.9e-06 | 2.7627e-07
405 | 7.0769 | 3.0604 | 0.024079 | 0 | 0 | 0 | 0 | 0.92762 | 1.24e-06 | 1.75e-06 | 1.11e-06 | 1.27e-06 | 1.83e-06 | 1.5749e-07
406 | 6.2394 | 2.7818 | 0.039728 | 0 | 0 | 0 | 0 | 0.934 | 1.61e-06 | 3.91e-06 | 1.23e-06 | 8.69e-07 | 2.31e-06 | 1.2423e-06
407 | 5.4478 | 2.3494 | 0.09072 | 0 | 0 | 0 | 0 | 0.704 | 4.68e-06 | 6.13e-07 | 6.85e-07 | 2.94e-07 | 1.5e-06 | 5.5019e-07
408 | 4.9023 | 2.0635 | 0.12281 | 0 | 0 | 0 | 0 | 0.117 | 2.07e-06 | 2.26e-06 | 8.13e-07 | 6.36e-07 | 2.72e-06 | 2.9277e-06
409 | 4.3268 | 1.7911 | 0.12616 | 0 | 0 | 0 | 0 | 0.00332 | 1.36e-06 | 2.08e-06 | 3.37e-06 | 5.67e-07 | 2.02e-06 | 3.9235e-07
410 | 3.793 | 1.5272 | 0.067083 | 0 | 0 | 0 | 0 | 0.000215 | 5.65e-07 | 7.89e-07 | 2.88e-06 | 6.71e-07 | 1.54e-06 | 8.2843e-07
411 | 3.3615 | 1.179 | 0.030118 | 0 | 0 | 0 | 0 | 2.29e-05 | 2.87e-06 | 1.46e-06 | 1.08e-06 | 2.86e-06 | 1.78e-07 | 2.674e-06
412 | 2.908 | 0.94821 | 0.088481 | 0 | 0 | 0 | 0 | 2.64e-06 | 2e-06 | 1.29e-07 | 1.46e-07 | 1.97e-07 | 1.29e-07 | 4.5699e-07
413 | 2.475 | 0.72339 | 0.15615 | 0 | 0 | 0 | 0 | 2.42e-06 | 3.93e-06 | 5.16e-07 | 8.82e-07 | 7.93e-08 | 3.76e-06 | 2.2905e-06
414 | 2.074 | 0.51753 | 0.26322 | 0 | 0 | 0 | 0 | 2.56e-06 | 6.56e-07 | 2.15e-06 | 8.9e-07 | 7.75e-07 | 8.22e-07 | 1.087e-06
415 | 1.7721 | 0.39956 | 0.38439 | 0 | 0 | 0 | 0 | 1.34e-06 | 3.8e-06 | 9.01e-07 | 2.37e-06 | 3.82e-07 | 1.36e-06 | 6.2632e-06
416 | 1.614 | 0.31354 | 0.51478 | 0 | 0 | 0 | 0 | 1.16e-06 | 9.15e-08 | 1.65e-07 | 1.79e-07 | 8.08e-07 | 1.2e-06 | 2.3941e-05
417 | 1.5933 | 0.20412 | 0.72133 | 0 | 0 | 0 | 0 | 1.64e-06 | 2.11e-06 | 1.29e-06 | 7.64e-07 | 1.34e-06 | 1.42e-06 | 4.5211e-06
418 | 1.7824 | 0.13925 | 0.91749 | 0 | 0 | 0 | 0 | 7.3e-07 | 1.62e-06 | 2.57e-06 | 3.8e-06 | 1.23e-06 | 1.65e-06 | 1.24e-06
419 | 2.0188 | 0.10686 | 1.2635 | 0 | 0 | 0 | 0 | 2.45e-06 | 2.08e-06 | 2.95e-07 | 3.08e-07 | 9.46e-07 | 4.84e-07 | 4.6776e-07
420 | 2.3775 | 0.058555 | 1.5384 | 0 | 0 | 0 | 0 | 9.09e-09 | 6.49e-07 | 9.12e-07 | 7.89e-07 | 1.58e-06 | 2.16e-07 | 1.6428e-06
421 | 2.7523 | 0.036518 | 1.9004 | 0 | 0 | 0 | 0 | 3.44e-06 | 5.7e-07 | 1.65e-06 | 1.79e-06 | 6.85e-07 | 3.97e-06 | 4.9907e-07
422 | 3.132 | 0.019491 | 2.3135 | 0 | 0 | 0 | 0 | 6.06e-07 | 3.28e-06 | 1.52e-06 | 1.33e-06 | 1.06e-06 | 2.8e-06 | 6.8156e-08
423 | 3.6089 | 0.0076622 | 2.6957 | 0 | 0 | 0 | 0 | 4.45e-07 | 2.8e-06 | 6.04e-07 | 2.77e-06 | 1.06e-06 | 1.75e-06 | 1.955e-06
424 | 4.1466 | 0.0012157 | 3.1142 | 0 | 0 | 0 | 0 | 4.57e-07 | 1.25e-06 | 5.92e-07 | 1.54e-06 | 2.1e-07 | 7.26e-07 | 2.7879e-06
425 | 4.7783 | 0 | 3.5622 | 0 | 0 | 0 | 0 | 2.96e-06 | 3.01e-06 | 1.63e-06 | 9.1e-07 | 8.93e-07 | 1.39e-06 | 1.5039e-06
426 | 5.4501 | 0 | 4.0488 | 0 | 0 | 0 | 0 | 6.95e-08 | 2.42e-06 | 1.49e-06 | 1.91e-06 | 4.75e-07 | 2.91e-07 | 4.27e-06
427 | 6.0926 | 0 | 4.5198 | 0 | 0 | 0 | 0 | 1.54e-06 | 1.1649e-05 | 1.59e-06 | 9.27e-07 | 1.44e-06 | 6.62e-07 | 1.3128e-06
428 | 6.7792 | 0 | 5.1202 | 0 | 0 | 0 | 0 | 2.22e-07 | 7.7294e-05 | 6.19e-07 | 7.21e-07 | 1.14e-06 | 1.97e-06 | 2.8165e-06
429 | 7.2897 | 0 | 5.7484 | 0 | 0 | 0 | 0 | 2.34e-06 | 0.00091227 | 9.2e-07 | 1.75e-06 | 7.43e-07 | 2.68e-07 | 3.8649e-09
430 | 7.9483 | 0 | 6.2402 | 0 | 0 | 0 | 0 | 3.47e-06 | 0.019466 | 3.85e-06 | 9.64e-07 | 2.62e-06 | 8.61e-07 | 4.1566e-07
431 | 8.4414 | 0 | 6.6676 | 0 | 0 | 0 | 0 | 1.48e-06 | 0.33168 | 1.88e-06 | 1.9e-06 | 2.41e-07 | 7.12e-07 | 3.508e-06
432 | 9.1194 | 0 | 7.0812 | 0 | 0 | 0 | 0 | 1.01e-06 | 0.85643 | 1.66e-06 | 3.15e-07 | 2.6e-06 | 6.42e-07 | 4.5688e-07
433 | 9.6542 | 0 | 7.249 | 0 | 0 | 0 | 0 | 9.76e-07 | 0.93312 | 1.87e-06 | 4.7e-07 | 5.13e-07 | 9.44e-07 | 1.4321e-06
434 | 10.2264 | 0 | 7.321 | 0 | 0 | 0 | 0 | 1.14e-06 | 0.95995 | 1.19e-06 | 1.39e-06 | 2.82e-06 | 1.03e-06 | 3.6084e-07
435 | 10.6002 | 0 | 7.2278 | 0 | 0 | 0 | 0 | 9.03e-07 | 0.96085 | 1.6e-07 | 1.04e-06 | 8.66e-07 | 3.88e-07 | 6.7508e-08
436 | 10.2528 | 0 | 7.014 | 0 | 0 | 0 | 0 | 3.48e-06 | 0.96052 | 4.03e-08 | 2.01e-06 | 1.05e-06 | 2.14e-06 | 2.0739e-06
437 | 10.9347 | 0 | 6.6 | 0 | 0 | 0 | 0 | 6.05e-07 | 0.96283 | 1.45e-06 | 3.41e-07 | 6.38e-08 | 6.92e-07 | 1.6238e-07
438 | 11.1109 | 0 | 6.1986 | 0 | 0 | 0 | 0 | 1.56e-06 | 0.96864 | 1.29e-06 | 2.14e-06 | 4.82e-08 | 3.08e-06 | 6.7501e-07
439 | 10.7271 | 0 | 5.7711 | 0 | 0 | 0 | 0 | 5.28e-07 | 0.97629 | 1.16e-06 | 1.03e-06 | 1.21e-06 | 1.97e-07 | 6.1851e-08
440 | 10.3685 | 0 | 5.3036 | 0 | 0 | 0 | 0 | 1.04e-06 | 0.97876 | 4.1e-08 | 1.56e-06 | 5.35e-07 | 1.85e-06 | 4.234e-06
441 | 9.6869 | 0 | 4.8375 | 0 | 0 | 0 | 0 | 6.98e-07 | 0.9832 | 2.17e-07 | 9.81e-07 | 1.74e-06 | 6.17e-06 | 3.0104e-07
442 | 9.1015 | 0 | 4.2559 | 0 | 0 | 0 | 0 | 2.1e-06 | 0.98833 | 1.32e-06 | 2.81e-06 | 1.45e-06 | 1.78e-06 | 1.9012e-06
443 | 8.3546 | 0 | 3.8696 | 0 | 0 | 0 | 0 | 3.14e-07 | 0.98668 | 5.22e-07 | 1.85e-06 | 1.45e-06 | 1.89e-06 | 1.2365e-06
444 | 7.6112 | 0 | 3.5804 | 0 | 0 | 0 | 0 | 9.05e-07 | 0.98119 | 4.84e-06 | 3.93e-06 | 2.37e-07 | 2.6e-06 | 9.0917e-07
445 | 6.9197 | 0 | 3.2195 | 0 | 0 | 0 | 0 | 1.29e-06 | 0.95938 | 2.52e-07 | 7.86e-07 | 1.65e-07 | 2.62e-07 | 2.6304e-06
446 | 6.2586 | 0 | 2.9131 | 0 | 0 | 0 | 0 | 9.28e-07 | 0.94455 | 2.43e-06 | 1.05e-06 | 5.35e-07 | 1.26e-06 | 1.6837e-09
447 | 5.6714 | 0 | 2.6411 | 0 | 0 | 0 | 0 | 1.6e-07 | 0.96275 | 3.07e-07 | 1.4e-06 | 1.93e-06 | 1.04e-06 | 1.6094e-06
448 | 5.1465 | 0 | 2.4269 | 0.00035212 | 0 | 0 | 0 | 1.42e-08 | 0.9657 | 4.72e-07 | 1.33e-07 | 6.18e-07 | 2.46e-06 | 9.9838e-07
449 | 4.7344 | 0 | 2.2222 | 0.0019546 | 0 | 0 | 0 | 7.59e-07 | 0.94257 | 2.68e-07 | 4.12e-07 | 7.06e-07 | 1.86e-06 | 1.0582e-06
450 | 4.309 | 0 | 2.0463 | 0.0051955 | 0 | 0 | 0 | 2.38e-07 | 0.89599 | 7.68e-07 | 1.17e-06 | 9.56e-08 | 2.27e-06 | 2.141e-06
451 | 3.9101 | 0 | 1.8373 | 0.010446 | 0 | 0 | 0 | 2.09e-06 | 0.38255 | 1.1e-07 | 1.32e-06 | 1.85e-06 | 1.06e-06 | 4.2809e-07
452 | 3.597 | 0 | 1.6221 | 0.018078 | 0 | 0 | 0 | 6.72e-07 | 0.027304 | 3.6e-06 | 1.2e-07 | 3.21e-07 | 1.52e-06 | 4.1024e-07
453 | 3.2616 | 0 | 1.4238 | 0.06615 | 0 | 0 | 0 | 3.33e-06 | 0.001448 | 1.81e-05 | 9.59e-07 | 2.38e-06 | 5.01e-07 | 1.2661e-06
454 | 3.0175 | 0 | 1.1159 | 0.098193 | 0 | 0 | 0 | 2.77e-07 | 0.00014077 | 0.000133 | 1.17e-06 | 4.9e-08 | 1.72e-06 | 7.9342e-07
455 | 2.8658 | 0 | 0.8975 | 0.1438 | 0 | 0 | 0 | 4.85e-07 | 2.1018e-05 | 0.00129 | 1.38e-06 | 3.37e-07 | 1.17e-06 | 9.1755e-07
456 | 2.8423 | 0 | 0.67196 | 0.22652 | 0 | 0 | 0 | 2.49e-06 | 3.7874e-06 | 0.0206 | 5.75e-08 | 5.29e-07 | 2.69e-07 | 1.1632e-06
457 | 3.0285 | 0 | 0.46627 | 0.31495 | 0 | 0 | 0 | 3.44e-07 | 1.8695e-06 | 0.292 | 3.33e-06 | 8.29e-07 | 3.62e-07 | 8.9361e-07
458 | 3.39 | 0 | 0.35757 | 0.42269 | 0 | 0 | 0 | 1.98e-06 | 1.3057e-06 | 0.837 | 1.68e-06 | 5.09e-08 | 1.23e-06 | 2.4278e-06
459 | 3.9455 | 0 | 0.23558 | 0.54057 | 0 | 0 | 0 | 8.94e-07 | 1.9645e-07 | 0.952 | 2.61e-07 | 2.5e-07 | 8.06e-07 | 4.2807e-07
460 | 4.5612 | 0 | 0.14769 | 0.66466 | 0 | 0 | 0 | 4.12e-08 | 3.0501e-07 | 0.982 | 1.51e-07 | 7.66e-07 | 8.03e-07 | 7.6112e-07
461 | 5.1947 | 0 | 0.092153 | 0.83301 | 0 | 0 | 0 | 6.16e-07 | 3.3978e-07 | 0.98388 | 1.2e-06 | 3.52e-06 | 2.49e-06 | 2.7697e-07
462 | 5.8067 | 0 | 0.048228 | 0.94878 | 0 | 0 | 0 | 1.86e-06 | 1.6e-06 | 0.98469 | 1.33e-07 | 2.79e-06 | 9.72e-07 | 2.7922e-06
463 | 6.3899 | 0 | 0.017561 | 1.0746 | 0 | 0 | 0 | 2.07e-07 | 3.48e-07 | 0.98859 | 3.48e-07 | 5e-07 | 8.58e-07 | 4.0427e-06
464 | 6.8789 | 0 | 0.0017958 | 1.1958 | 0 | 0 | 0 | 2.14e-06 | 3.15e-07 | 0.99092 | 1.4e-06 | 5.03e-07 | 2.4e-07 | 5.9081e-06
465 | 7.3147 | 0 | 0 | 1.3357 | 0 | 0 | 0 | 6.06e-07 | 5.89e-07 | 0.99084 | 6.38e-07 | 5.73e-07 | 1.67e-06 | 6.2257e-06
466 | 7.7257 | 0 | 0 | 1.5552 | 0 | 0 | 0 | 1.63e-06 | 3.45e-07 | 0.99042 | 2.44e-06 | 8.91e-07 | 1.29e-06 | 3.9742e-06
467 | 8.0835 | 0 | 0 | 1.6944 | 0 | 0 | 0 | 6.78e-07 | 4.17e-07 | 0.98992 | 1.47e-06 | 3.37e-09 | 2.45e-06 | 7.2454e-06
468 | 8.3207 | 0 | 0 | 1.9018 | 0 | 0 | 0 | 1.7e-06 | 7.77e-07 | 0.9906 | 4.42e-07 | 2.53e-06 | 5.98e-07 | 2.0935e-06
469 | 8.4769 | 0 | 0 | 2.1237 | 0 | 0 | 0 | 8.38e-07 | 9.01e-07 | 0.99159 | 2.59e-07 | 3.43e-07 | 9.25e-07 | 1.078e-06
470 | 8.5521 | 0 | 0 | 2.3421 | 0 | 0 | 0 | 3.8e-07 | 4.14e-07 | 0.99079 | 4.03e-07 | 2.03e-08 | 1.39e-06 | 2.6645e-08
471 | 8.5139 | 0 | 0 | 2.5861 | 0 | 0 | 0 | 3.22e-08 | 9.04e-07 | 0.98932 | 1.31e-06 | 3.35e-07 | 2.45e-06 | 2.8498e-06
472 | 8.2691 | 0 | 0 | 2.8663 | 0 | 0 | 0 | 2.26e-06 | 2.03e-07 | 0.98956 | 8.11e-07 | 6.71e-07 | 1.85e-06 | 2.7644e-06
473 | 8.0771 | 0 | 0 | 3.1449 | 0 | 0 | 0 | 5.35e-07 | 9.27e-07 | 0.99112 | 1.32e-06 | 3.79e-08 | 9.51e-08 | 1.6482e-06
474 | 7.7962 | 0 | 0 | 3.4734 | 0 | 0 | 0 | 3.11e-07 | 1.11e-06 | 0.98922 | 3.23e-08 | 1.45e-06 | 2.11e-07 | 1.5622e-06
475 | 7.4596 | 0 | 0 | 3.7601 | 0 | 0 | 0 | 1.85e-07 | 3.54e-07 | 0.98767 | 8.68e-07 | 4.24e-07 | 9.62e-07 | 7.5173e-08
476 | 7.17 | 0 | 0 | 4.099 | 0 | 0 | 0 | 3.32e-07 | 1.02e-06 | 0.98869 | 1.01e-06 | 6.88e-07 | 9.25e-07 | 4.7313e-07
477 | 6.7747 | 0 | 0 | 4.3219 | 0 | 0 | 0 | 2.06e-06 | 2.21e-06 | 0.9906 | 6.82e-07 | 5.02e-07 | 9.43e-07 | 2.1476e-07
478 | 6.4101 | 0 | 0 | 4.5383 | 0 | 0 | 0 | 1.11e-06 | 1.78e-06 | 0.99034 | 6.29e-07 | 2.06e-07 | 1.91e-08 | 1.1711e-07
479 | 5.9633 | 0 | 0 | 4.73 | 0 | 0 | 0 | 1.72e-07 | 1.9e-06 | 0.98741 | 1.21e-06 | 9.36e-07 | 9.36e-07 | 3.0719e-06
480 | 5.5619 | 0 | 0 | 4.8917 | 0 | 0 | 0 | 1.08e-07 | 1.08e-06 | 0.97449 | 1.06e-08 | 9.46e-07 | 2.49e-08 | 1.7904e-06
481 | 5.1637 | 0 | 0 | 4.9876 | 0.0035765 | 0 | 0 | 2.9e-06 | 8.14e-07 | 0.94828 | 1.93e-06 | 8.43e-07 | 1.06e-07 | 1.4011e-06
482 | 4.8334 | 0 | 0 | 5.0692 | 0.013541 | 0 | 0 | 1.57e-06 | 2.46e-08 | 0.79274 | 9.28e-07 | 1.25e-06 | 2.27e-06 | 4.617e-06
483 | 4.5357 | 0 | 0 | 5.0643 | 0.025923 | 0 | 0 | 1.03e-06 | 2.98e-07 | 0.26866 | 9.11e-07 | 7.81e-07 | 7.58e-07 | 7.1159e-06
484 | 4.2309 | 0 | 0 | 5.0249 | 0.0367 | 0 | 0 | 1.82e-06 | 6.46e-07 | 0.026753 | 1.37e-06 | 4.4e-08 | 2.84e-07 | 3.6166e-06
485 | 4.0218 | 0 | 0 | 4.9338 | 0.041849 | 0 | 0 | 1.42e-06 | 8.08e-07 | 0.0025511 | 3.74e-06 | 6.6e-07 | 8.96e-07 | 3.8701e-06
486 | 3.7658 | 0 | 0 | 4.7616 | 0.041873 | 1.4837e-05 | 0 | 5.3e-07 | 4.6e-07 | 0.00035529 | 6.77e-07 | 5.41e-07 | 2.24e-07 | 2.1276e-06
487 | 3.5586 | 0 | 0 | 4.5677 | 0.052772 | 0.00083754 | 0 | 1.68e-06 | 4.07e-08 | 6.5527e-05 | 1.83e-06 | 2.26e-06 | 5.62e-07 | 3.5932e-07
488 | 3.3155 | 0 | 0 | 4.1687 | 0.064993 | 0.0030495 | 0 | 1.19e-06 | 7.18e-07 | 1.511e-05 | 4.14e-07 | 2.16e-06 | 1.3e-06 | 2.0095e-06
489 | 3.0636 | 0 | 0 | 3.7438 | 0.091576 | 0.0068323 | 0 | 3.2e-07 | 4.66e-07 | 2.4777e-06 | 2.34e-06 | 1.16e-06 | 3.39e-07 | 9.8133e-08
490 | 2.8569 | 0 | 0 | 3.4158 | 0.14775 | 0.012367 | 0 | 6.13e-07 | 4.95e-07 | 4.6056e-07 | 9.6e-07 | 5.19e-07 | 3.47e-07 | 1.0449e-06
491 | 2.6425 | 0 | 0 | 3.0577 | 0.16421 | 0.021889 | 0 | 7.86e-07 | 4.12e-07 | 4.18e-07 | 1.3754e-06 | 7.57e-08 | 2e-06 | 1.4445e-06
492 | 2.4392 | 0 | 0 | 2.6822 | 0.21575 | 0.04167 | 0 | 1.54e-06 | 7.07e-07 | 5.62e-07 | 1.6723e-07 | 1.22e-06 | 2.78e-06 | 9.6504e-07
493 | 2.2359 | 0 | 0 | 2.3914 | 0.26536 | 0.041645 | 0 | 4.34e-07 | 6.14e-07 | 1.68e-06 | 4.2589e-06 | 1.44e-06 | 1.17e-06 | 1.3715e-06
494 | 2.0496 | 0 | 0 | 2.0196 | 0.32578 | 0.041607 | 0 | 3.83e-07 | 9.45e-07 | 6.53e-07 | 2.0115e-05 | 2.96e-07 | 7.45e-07 | 2.2063e-06
495 | 1.8916 | 0 | 0 | 1.6298 | 0.39291 | 0.041571 | 0 | 4.01e-07 | 7.56e-07 | 2.41e-06 | 0.00012282 | 5.1e-07 | 3.07e-07 | 1.9097e-06
496 | 1.7538 | 0 | 0 | 1.3769 | 0.50469 | 0.060799 | 0 | 5.29e-07 | 1.63e-06 | 9.06e-07 | 0.0010659 | 1.95e-06 | 2.09e-07 | 2.2017e-07
497 | 1.6292 | 0 | 0 | 1.0979 | 0.60176 | 0.064699 | 0 | 2.05e-08 | 1.18e-06 | 1.37e-06 | 0.015016 | 8.97e-07 | 1.26e-06 | 1.4891e-06
498 | 1.5539 | 0 | 0 | 0.86374 | 0.72941 | 0.064663 | 0 | 9.46e-07 | 7.46e-08 | 2.08e-07 | 0.23045 | 1.94e-07 | 1.09e-06 | 1.2081e-06
499 | 1.5019 | 0 | 0 | 0.57041 | 0.8676 | 0.087819 | 0 | 1.14e-06 | 3.98e-09 | 2.3e-06 | 0.80367 | 2.5e-07 | 1.6e-06 | 2.1878e-07
500 | 1.5358 | 0 | 0 | 0.29854 | 1.0349 | 0.087781 | 0 | 1.21e-06 | 5.45e-07 | 3.78e-07 | 0.96306 | 4.79e-07 | 2.09e-06 | 1.5588e-07
501 | 1.5839 | 0 | 0 | 0.18754 | 1.1793 | 0.087756 | 0 | 3.15e-07 | 1.24e-06 | 1.47e-06 | 0.98299 | 9.4e-07 | 1.18e-06 | 1.1462e-06
502 | 1.7169 | 0 | 0 | 0.1177 | 1.277 | 0.111 | 0 | 1.42e-06 | 6.38e-07 | 1.15e-06 | 0.98817 | 7.93e-07 | 6.38e-08 | 1.5156e-08
503 | 1.9033 | 0 | 0 | 0.063952 | 1.3493 | 0.111 | 0 | 1.28e-06 | 1.29e-06 | 1.28e-06 | 0.98717 | 6.95e-07 | 2.03e-08 | 2.8255e-06
504 | 2.0961 | 0 | 0 | 0.026411 | 1.3947 | 0.13617 | 0 | 4.72e-07 | 5.95e-06 | 1.67e-06 | 0.98502 | 5.85e-07 | 1.89e-06 | 9.4134e-07
505 | 2.292 | 0 | 0 | 0.0051771 | 1.4445 | 0.157 | 0 | 5.4e-07 | 1.2e-06 | 1.55e-06 | 0.988 | 4.22e-07 | 1.7e-06 | 6.6765e-07
506 | 2.4618 | 0 | 0 | 0 | 1.4929 | 0.17767 | 0 | 7.53e-07 | 2.26e-06 | 1.56e-06 | 0.99059 | 2.73e-07 | 7.58e-07 | 8.5609e-07
507 | 2.5954 | 0 | 0 | 0 | 1.548 | 0.18077 | 0 | 5.24e-07 | 3.06e-07 | 2.34e-07 | 0.9892 | 1.01e-06 | 1.07e-06 | 2.7571e-06
508 | 2.7366 | 0 | 0 | 0 | 1.5821 | 0.203 | 0 | 4.48e-07 | 1.26e-07 | 5.5e-07 | 0.98828 | 8.38e-07 | 6.51e-07 | 1.4861e-07
509 | 2.8075 | 0 | 0 | 0 | 1.617 | 0.227 | 0 | 3.02e-07 | 1.59e-06 | 2.09e-06 | 0.98985 | 2.6e-07 | 4.96e-07 | 1.3468e-06
510 | 2.8806 | 0 | 0 | 0 | 1.642 | 0.25 | 0 | 4.93e-08 | 9.83e-07 | 3.45e-07 | 0.99271 | 1.39e-06 | 3.55e-07 | 1.7114e-06
511 | 2.8965 | 0 | 0 | 0 | 1.687 | 0.27133 | 0 | 1.22e-06 | 2.02e-06 | 1.01e-06 | 0.99108 | 1.43e-06 | 1.57e-06 | 2.4492e-06
512 | 2.9215 | 0 | 0 | 0 | 1.71 | 0.296 | 0 | 1.43e-06 | 4.35e-07 | 1.63e-06 | 0.98773 | 2.12e-07 | 2.56e-07 | 1.1188e-06
513 | 2.9263 | 0 | 0 | 0 | 1.7201 | 0.31637 | 0 | 3.41e-07 | 1.03e-06 | 2.6e-07 | 0.98727 | 1.27e-06 | 2.7e-08 | 7.1127e-07
514 | 2.914 | 0 | 0 | 0 | 1.734 | 0.35929 | 0 | 7.55e-07 | 1.47e-06 | 1.17e-06 | 0.98842 | 6.48e-07 | 1.18e-07 | 1.6064e-06
515 | 2.9163 | 0 | 0 | 0 | 1.733 | 0.38948 | 0 | 1.47e-06 | 2.24e-09 | 8.31e-07 | 0.98715 | 4.6e-07 | 1.06e-06 | 4.2822e-07
516 | 2.8982 | 0 | 0 | 0 | 1.71 | 0.435 | 0 | 2.12e-06 | 1.28e-06 | 5.98e-07 | 0.98448 | 5.83e-07 | 3.19e-08 | 1.3839e-06
517 | 2.8819 | 0 | 0 | 0 | 1.7036 | 0.48267 | 0 | 7.77e-07 | 7.52e-07 | 9.66e-08 | 0.98653 | 1.34e-06 | 1.21e-06 | 3.3851e-06
518 | 2.8574 | 0 | 0 | 0 | 1.6654 | 0.55012 | 0 | 1.44e-06 | 7.5e-07 | 1.09e-06 | 0.98732 | 8.09e-07 | 9.75e-08 | 2.9974e-06
519 | 2.8151 | 0 | 0 | 0 | 1.6297 | 0.62687 | 0 | 1.1e-07 | 1.29e-06 | 2.07e-07 | 0.98233 | 2.39e-07 | 2.05e-07 | 2.6672e-06
520 | 2.7746 | 0 | 0 | 0 | 1.5667 | 0.74865 | 0 | 9.36e-07 | 3.7e-07 | 1.95e-06 | 0.96234 | 8.81e-07 | 1.68e-06 | 1.2213e-06
521 | 2.7441 | 0 | 0 | 0 | 1.508 | 1.039 | 0 | 1.38e-06 | 1.8e-06 | 3.51e-07 | 0.86963 | 6.15e-07 | 1.48e-07 | 4.6492e-06
522 | 2.7958 | 0 | 0 | 0 | 1.4131 | 1.3559 | 0 | 4.67e-07 | 5.75e-07 | 4.16e-07 | 0.37461 | 2.71e-06 | 2.99e-06 | 1.8823e-06
523 | 2.907 | 0 | 0 | 0 | 1.3057 | 1.7841 | 0 | 1.07e-06 | 7.11e-07 | 7.65e-07 | 0.041291 | 1.01e-06 | 4.23e-06 | 3.4627e-07
524 | 3.1391 | 0 | 0 | 0 | 1.1691 | 2.2349 | 0 | 1.2e-06 | 3.71e-07 | 1.96e-06 | 0.0036968 | 8.44e-07 | 6.15e-07 | 6.2645e-07
525 | 3.5284 | 0 | 0 | 0 | 1.078 | 2.8233 | 0 | 1.42e-06 | 2.42e-06 | 6.26e-07 | 0.00049485 | 6.28e-07 | 1.37e-06 | 1.8878e-06
526 | 4.0647 | 0 | 0 | 0 | 0.98036 | 3.3642 | 0 | 2.69e-06 | 1.11e-06 | 5.93e-08 | 9.2551e-05 | 1e-06 | 7.02e-07 | 5.1983e-07
527 | 4.7579 | 0 | 0 | 0 | 0.90113 | 3.8107 | 0 | 1.3e-07 | 1.66e-07 | 2.8e-07 | 2.3623e-05 | 1.9e-06 | 1.1e-06 | 2.0468e-06
528 | 5.7007 | 0 | 0 | 0 | 0.80365 | 4.4206 | 0 | 1.27e-07 | 1.06e-06 | 4.89e-07 | 8.1186e-06 | 4.7e-07 | 9.8e-07 | 3.2746e-06
529 | 6.6869 | 0 | 0 | 0 | 0.70171 | 4.9006 | 0 | 5.71e-08 | 2.07e-07 | 5.98e-07 | 9.4397e-07 | 1.3e-06 | 2.69e-07 | 2.4176e-06
530 | 7.7624 | 0 | 0 | 0 | 0.6296 | 5.347 | 0 | 1.17e-08 | 1.05e-06 | 3.95e-09 | 1.7655e-06 | 1.82e-07 | 1.52e-06 | 1.5898e-06
531 | 8.8412 | 0 | 0 | 0 | 0.55364 | 5.7063 | 0 | 6.19e-08 | 3.84e-07 | 4.27e-07 | 1.0918e-06 | 3.4213e-07 | 5.6e-07 | 4.1799e-06
532 | 9.8327 | 0 | 0 | 0 | 0.45382 | 6.2725 | 0 | 1.89e-06 | 2.03e-07 | 2.04e-06 | 3.08e-07 | 4.0282e-07 | 7.55e-07 | 2.2614e-06
533 | 10.6574 | 0 | 0 | 0 | 0.38202 | 6.8209 | 0 | 2.65e-06 | 1.33e-07 | 6.66e-08 | 1.62e-06 | 5.5871e-07 | 2.43e-06 | 1.1636e-06
534 | 11.3401 | 0 | 0 | 0 | 0.30262 | 7.4905 | 0 | 1.46e-06 | 1.45e-07 | 1.52e-06 | 1.68e-06 | 1.2051e-06 | 9.95e-07 | 1.3124e-06
535 | 11.8757 | 0 | 0 | 0 | 0.21622 | 8.129 | 0 | 5.94e-07 | 4.52e-07 | 6.64e-07 | 8.66e-07 | 1.9286e-06 | 1.01e-06 | 3.7258e-07
536 | 12.1939 | 0 | 0 | 0 | 0.15607 | 8.7577 | 0 | 1.23e-06 | 2.03e-06 | 1.53e-06 | 2.74e-07 | 4.5089e-06 | 1.65e-06 | 1.0899e-06
537 | 12.4351 | 0 | 0 | 0 | 0.094783 | 9.3345 | 0 | 2.42e-07 | 5.39e-07 | 2.26e-06 | 4.64e-07 | 2.0393e-05 | 8.39e-07 | 2.549e-06
538 | 12.5755 | 0 | 0 | 0 | 0.063337 | 9.7414 | 0 | 1.06e-06 | 1.64e-06 | 2.07e-06 | 1.95e-06 | 0.00013386 | 1.66e-06 | 1.4302e-06
539 | 12.6693 | 0 | 0 | 0 | 0.059933 | 10.0225 | 0 | 1.53e-06 | 4.62e-07 | 6.39e-07 | 3.86e-07 | 0.0013327 | 1.31e-06 | 2.9033e-06
540 | 12.7231 | 0 | 0 | 0 | 0.046315 | 10.2052 | 0 | 1.03e-06 | 2.2e-06 | 1.39e-06 | 2.99e-06 | 0.022266 | 1.13e-07 | 1.4888e-06
541 | 12.7186 | 0 | 0 | 0 | 0.02785 | 10.2433 | 0 | 7.27e-07 | 7.33e-07 | 3.19e-06 | 2.71e-06 | 0.29729 | 1.69e-06 | 1.2309e-06
542 | 12.7095 | 0 | 0 | 0 | 0.010607 | 10.2881 | 0 | 2.89e-07 | 1.63e-06 | 2.35e-07 | 3.61e-07 | 0.84663 | 1.65e-07 | 8.0633e-07
543 | 12.6951 | 0 | 0 | 0 | 0.00065592 | 10.2613 | 0 | 2.91e-07 | 7.53e-07 | 3.72e-07 | 1.22e-06 | 0.96591 | 9.36e-08 | 1.1375e-06
544 | 12.695 | 0 | 0 | 0 | 0 | 10.242 | 0 | 2.22e-07 | 7.74e-07 | 1.1e-06 | 2.52e-06 | 0.97718 | 3.66e-06 | 1.971e-06
545 | 12.6813 | 0 | 0 | 0 | 0 | 10.2278 | 0 | 2.89e-06 | 4.75e-06 | 7.54e-07 | 2.14e-06 | 0.97353 | 1.6e-06 | 2.3981e-06
546 | 12.6824 | 0 | 0 | 0 | 0 | 10.1955 | 0 | 1.09e-06 | 4.41e-08 | 2.5e-06 | 1.36e-06 | 0.97749 | 1.02e-06 | 1.7805e-06
547 | 12.7615 | 0 | 0 | 0 | 0 | 10.15 | 0 | 1.51e-06 | 6.74e-07 | 7.2e-08 | 4.39e-07 | 0.98178 | 3.14e-07 | 1.1876e-07
548 | 12.7281 | 0 | 0 | 0 | 0 | 10.1232 | 0 | 8.78e-07 | 1.38e-07 | 1.24e-06 | 6.31e-07 | 0.98323 | 2.35e-06 | 9.167e-07
549 | 12.7321 | 0 | 0 | 0 | 0 | 10.08 | 0 | 7.47e-07 | 8.27e-07 | 3.14e-06 | 1.98e-06 | 0.98383 | 8.55e-07 | 1.1443e-06
550 | 12.6537 | 0 | 0 | 0 | 0 | 10.0233 | 0 | 1.89e-06 | 7.02e-07 | 2.83e-07 | 8.22e-09 | 0.984 | 1.32e-06 | 7.8098e-07
551 | 12.6579 | 0 | 0 | 0 | 0 | 9.9147 | 0 | 7.34e-07 | 3.99e-07 | 1.16e-06 | 1.83e-07 | 0.988 | 2.08e-06 | 2.2353e-09
552 | 12.5336 | 0 | 0 | 0 | 0 | 9.8515 | 0 | 4.29e-07 | 1.41e-06 | 8.9e-07 | 2.44e-06 | 0.987 | 5.36e-07 | 2.1609e-07
553 | 12.4167 | 0 | 0 | 0 | 0 | 9.8157 | 0 | 9.55e-07 | 1.29e-06 | 5.56e-07 | 1.42e-06 | 0.982 | 1.53e-07 | 6.4236e-07
554 | 12.4188 | 0 | 0 | 0 | 0 | 9.7552 | 0 | 5.92e-07 | 1.9e-06 | 9.77e-07 | 1.11e-06 | 0.977 | 2.04e-06 | 2.4931e-07
555 | 12.3202 | 0 | 0 | 0 | 0 | 9.6709 | 0 | 7.1e-07 | 6.03e-07 | 5.08e-07 | 8.68e-07 | 0.891 | 1.9568e-06 | 6.437e-07
556 | 12.2005 | 0 | 0 | 0 | 0 | 9.6101 | 0 | 1.04e-06 | 6.59e-07 | 7.92e-07 | 1.7e-07 | 0.378 | 1.379e-06 | 1.1597e-06
557 | 12.0883 | 0 | 0 | 0 | 0 | 9.5509 | 0 | 1.21e-06 | 1.66e-08 | 5.6e-07 | 5.53e-07 | 0.0353 | 6.6085e-06 | 1.7597e-06
558 | 11.991 | 0 | 0 | 0 | 0 | 9.4464 | 0 | 3.22e-08 | 1.85e-06 | 1e-06 | 1.64e-06 | 0.00237 | 2.2476e-05 | 7.0661e-07
559 | 11.9026 | 0 | 0 | 0 | 0 | 9.357 | 0 | 1.26e-06 | 1.34e-06 | 1.32e-07 | 5.34e-07 | 0.000256 | 0.00012082 | 9.2906e-07
560 | 11.7936 | 0 | 0 | 0 | 0 | 9.2323 | 0 | 8.26e-07 | 1.98e-06 | 1.35e-06 | 1.3e-06 | 3.74e-05 | 0.00069076 | 1.9482e-07
561 | 11.6868 | 0 | 0 | 0 | 0 | 9.1652 | 0 | 2e-06 | 4.4e-07 | 8.47e-07 | 3.05e-07 | 8.06e-06 | 0.0049428 | 1.7759e-06
562 | 11.6104 | 0 | 0 | 0 | 0 | 9.0394 | 0 | 1.32e-06 | 2.7e-07 | 1.23e-06 | 8.39e-07 | 1.09e-06 | 0.04914 | 1.731e-06
563 | 11.4883 | 0 | 0 | 0 | 0 | 8.9139 | 0 | 7.72e-07 | 5.92e-08 | 5.36e-07 | 1.52e-06 | 9.7e-07 | 0.3021 | 6.3611e-07
564 | 11.3406 | 0 | 0 | 0 | 0 | 8.8209 | 0 | 1.08e-06 | 5.05e-07 | 4.17e-07 | 3.56e-07 | 1.75e-07 | 0.76019 | 4.0465e-08
565 | 11.211 | 0 | 0 | 0 | 0 | 8.7405 | 0 | 1.47e-07 | 1e-06 | 3.79e-06 | 2.98e-06 | 5.45e-07 | 0.95684 | 2.195e-06
566 | 11.0606 | 0 | 0 | 0 | 0 | 8.6278 | 0 | 1.04e-07 | 1.14e-09 | 1.67e-06 | 3.02e-09 | 9.08e-07 | 0.96614 | 6.2124e-07
567 | 10.9027 | 0 | 0 | 0 | 0 | 8.5265 | 0 | 9.45e-07 | 2.2e-06 | 1.24e-06 | 6.09e-07 | 2.14e-07 | 0.95839 | 9.0005e-07
568 | 10.7672 | 0 | 0 | 0 | 0 | 8.3905 | 0 | 4.45e-07 | 8.84e-07 | 1.53e-06 | 5.68e-07 | 9.39e-08 | 0.97649 | 8.0282e-09
569 | 10.6092 | 0 | 0 | 0 | 0 | 8.2166 | 0 | 2.78e-07 | 8.99e-07 | 1.18e-06 | 7.87e-07 | 6.35e-07 | 0.98758 | 5.7162e-07
570 | 10.3705 | 0 | 0 | 0 | 0 | 8.1171 | 0 | 3.05e-06 | 9.15e-07 | 5.75e-07 | 1.15e-06 | 1.34e-07 | 0.98579 | 1.1711e-06
571 | 10.2452 | 0 | 0 | 0 | 0 | 7.959 | 0 | 3.58e-07 | 3.6e-07 | 3.39e-06 | 2.11e-06 | 5.81e-07 | 0.98623 | 3.4861e-07
572 | 10.0808 | 0 | 0 | 0 | 0 | 7.8268 | 0 | 1.04e-06 | 3.62e-07 | 8.82e-09 | 3.37e-07 | 8.74e-07 | 0.98675 | 1.4697e-06
573 | 9.8725 | 0 | 0 | 0 | 0 | 7.7042 | 0 | 1.29e-06 | 1.83e-06 | 1.86e-06 | 1.04e-06 | 1.37e-06 | 0.98572 | 6.6879e-07
574 | 9.7249 | 0 | 0 | 0 | 0 | 7.5615 | 0 | 1.23e-06 | 2.69e-08 | 2.12e-06 | 3.36e-06 | 3.01e-07 | 0.98796 | 4.2651e-06
575 | 9.576 | 0 | 0 | 0 | 0 | 7.462 | 0 | 1.43e-08 | 2.02e-06 | 2.22e-06 | 1.61e-06 | 8.28e-08 | 0.9885 | 6.4367e-08
576 | 9.4096 | 0 | 0 | 0 | 0 | 7.2904 | 0 | 4.23e-07 | 1.8e-06 | 1.62e-07 | 1.87e-06 | 9.67e-07 | 0.98704 | 1.5054e-06
577 | 9.2597 | 0 | 0 | 0 | 0 | 7.1282 | 0 | 1.65e-06 | 1.15e-06 | 6.55e-07 | 1e-07 | 2.28e-07 | 0.98234 | 3.4569e-06
578 | 9.0759 | 0 | 0 | 0 | 0 | 6.9788 | 0 | 1.1e-06 | 2.09e-06 | 1.81e-06 | 2.06e-06 | 4.98e-08 | 0.97947 | 1.4381e-06
579 | 8.9455 | 0 | 0 | 0 | 0 | 6.8867 | 0 | 7.97e-07 | 3.21e-07 | 1.67e-07 | 1.36e-06 | 2.89e-06 | 0.98531 | 1.1242e-07
580 | 8.7762 | 0 | 0 | 0 | 0 | 6.7193 | 0 | 2.14e-06 | 3.11e-06 | 3.12e-06 | 3.61e-06 | 1.54e-06 | 0.98348 | 2.5887e-06
581 | 8.654 | 0 | 0 | 0 | 0 | 6.5946 | 0 | 2.68e-06 | 6.54e-07 | 5.98e-08 | 9.51e-07 | 8.42e-07 | 0.98372 | 3.1718e-07
582 | 8.4671 | 0 | 0 | 0 | 0 | 6.4524 | 0 | 1.59e-07 | 1.07e-08 | 1.91e-06 | 1.08e-06 | 2.24e-06 | 0.98126 | 3.3099e-07
583 | 8.3349 | 0 | 0 | 0 | 0 | 6.3093 | 0 | 1.51e-07 | 5.11e-07 | 6.32e-08 | 1.23e-06 | 8.15e-07 | 0.97197 | 1.3533e-06
584 | 8.1864 | 0 | 0 | 0 | 0 | 6.1591 | 0 | 7.69e-07 | 6.8e-07 | 1.77e-06 | 8.38e-07 | 2.75e-07 | 0.97223 | 4.0444e-06
585 | 8.0171 | 0 | 0 | 0 | 0 | 5.9968 | 0 | 2.87e-06 | 1.31e-06 | 1.41e-06 | 9.24e-07 | 3.32e-07 | 0.94994 | 8.2062e-07
586 | 7.8359 | 0 | 0 | 0 | 0 | 5.8978 | 0 | 7.74e-07 | 4.84e-07 | 5.32e-07 | 2.93e-07 | 3.02e-07 | 0.89256 | 4.8184e-07
587 | 7.7324 | 0 | 0 | 0 | 0 | 5.7528 | 0 | 8.41e-07 | 1.18e-06 | 1.83e-07 | 8.47e-07 | 1.28e-06 | 0.86952 | 1.5755e-06
588 | 7.5469 | 0 | 0 | 0 | 0 | 5.6105 | 0 | 4.99e-07 | 9.15e-07 | 1.26e-06 | 5.64e-07 | 7.38e-08 | 0.61477 | 1.9533e-06
589 | 7.3811 | 0 | 0 | 0 | 0 | 5.4702 | 0 | 2.89e-07 | 8.89e-07 | 3.73e-06 | 1.77e-06 | 2.54e-06 | 0.12189 | 6.1757e-07
590 | 7.2097 | 0 | 0 | 0 | 0 | 5.3464 | 0 | 3.17e-06 | 3.13e-06 | 1.92e-06 | 1.32e-06 | 2.25e-07 | 0.0093076 | 4.1216e-06
591 | 7.0505 | 0 | 0 | 0 | 0 | 5.2475 | 0 | 9.81e-07 | 9.86e-07 | 7.39e-08 | 1.66e-06 | 9.04e-07 | 0.0011954 | 1.9014e-06
592 | 6.8685 | 0 | 0 | 0 | 0 | 5.0711 | 0.00012619 | 5.38e-07 | 1.74e-06 | 4.88e-06 | 4.77e-06 | 1.05e-07 | 0.00024433 | 2.5865e-06
593 | 6.7203 | 0 | 0 | 0 | 0 | 4.935 | 0.0011342 | 1.07e-07 | 2.56e-06 | 6.56e-07 | 2.05e-07 | 2.02e-06 | 4.8537e-05 | 8.4986e-10
594 | 6.5497 | 0 | 0 | 0 | 0 | 4.8108 | 0.0033162 | 7.01e-07 | 5.42e-07 | 3.76e-06 | 4.73e-06 | 1.2e-06 | 1.2785e-05 | 4.4087e-06
595 | 6.3867 | 0 | 0 | 0 | 0 | 4.6448 | 0.0068711 | 1.28e-07 | 1.01e-06 | 1.19e-06 | 2.01e-06 | 5.32e-07 | 7.53e-06 | 8.2991e-07
596 | 6.2311 | 0 | 0 | 0 | 0 | 4.525 | 0.011997 | 1.65e-06 | 1.74e-07 | 2.46e-06 | 6.95e-07 | 8.78e-07 | 3.56e-06 | 1.5978e-06
597 | 6.08 | 0 | 0 | 0 | 0 | 4.4041 | 0.033218 | 4.04e-06 | 1.6e-06 | 2.72e-06 | 4.38e-06 | 2.48e-06 | 2.13e-06 | 2.0145e-06
598 | 5.8794 | 0 | 0 | 0 | 0 | 4.2586 | 0.03816 | 1.17e-06 | 9.73e-07 | 1.5e-06 | 8.47e-07 | 5.19e-07 | 5.18e-07 | 3.9725e-07
599 | 5.7073 | 0 | 0 | 0 | 0 | 4.1211 | 0.038128 | 1.87e-07 | 5.83e-07 | 1.54e-06 | 1.25e-06 | 2.48e-07 | 1.88e-06 | 5.3062e-07
600 | 5.4941 | 0 | 0 | 0 | 0 | 3.9444 | 0.038099 | 4.57e-07 | 8.82e-07 | 6.87e-07 | 1.24e-06 | 6.09e-07 | 1.26e-07 | 1.8966e-06
601 | 5.2247 | 0 | 0 | 0 | 0 | 3.8082 | 0.059422 | 1.87e-06 | 1.88e-06 | 7.21e-08 | 4.29e-07 | 7.74e-07 | 8.93e-07 | 3.8185e-07
602 | 4.9937 | 0 | 0 | 0 | 0 | 3.5817 | 0.061215 | 2.06e-06 | 6.6e-07 | 6.98e-07 | 1.78e-07 | 5.32e-07 | 2e-08 | 2.1448e-06
603 | 4.676 | 0 | 0 | 0 | 0 | 3.3721 | 0.085222 | 3.65e-07 | 1.75e-06 | 1.3e-06 | 2.15e-07 | 4.28e-07 | 8.86e-08 | 1.2485e-07
604 | 4.3883 | 0 | 0 | 0 | 0 | 3.13 | 0.108 | 3.69e-07 | 2.63e-06 | 6.45e-07 | 3.45e-07 | 4.08e-07 | 5.11e-07 | 1.8699e-06
605 | 4.1145 | 0 | 0 | 0 | 0 | 2.8893 | 0.14036 | 7.82e-07 | 3.25e-07 | 7.13e-07 | 9.48e-07 | 1.62e-07 | 1.97e-06 | 7.444e-07
606 | 3.833 | 0 | 0 | 0 | 0 | 2.6671 | 0.17423 | 2.03e-07 | 1.74e-06 | 7.78e-08 | 7.72e-07 | 1.26e-07 | 2.5e-07 | 2.0362e-07
607 | 3.5757 | 0 | 0 | 0 | 0 | 2.4357 | 0.23453 | 1.17e-06 | 1.31e-06 | 1.81e-07 | 1.47e-07 | 4.7e-07 | 1.24e-07 | 3.0226e-07
608 | 3.3732 | 0 | 0 | 0 | 0 | 2.1608 | 0.29583 | 3.61e-07 | 2.05e-06 | 1.11e-06 | 8.49e-07 | 3.08e-07 | 1.04e-06 | 9.2645e-07
609 | 3.1863 | 0 | 0 | 0 | 0 | 1.9555 | 0.35573 | 4.13e-07 | 2.55e-07 | 8.74e-07 | 1.56e-06 | 1.3e-07 | 1.47e-06 | 1.0517e-07
610 | 3.1595 | 0 | 0 | 0 | 0 | 1.8466 | 0.4453 | 7.45e-08 | 1.1e-06 | 1.19e-06 | 8.97e-07 | 1.19e-06 | 3.79e-07 | 1.0657e-06
611 | 3.3253 | 0 | 0 | 0 | 0 | 1.5924 | 0.56895 | 1.8e-07 | 6.5e-07 | 1.48e-06 | 2.16e-06 | 1.71e-06 | 1.3e-06 | 1.1641e-06
612 | 3.0593 | 0 | 0 | 0 | 0 | 1.4669 | 0.69014 | 7.23e-07 | 5.08e-07 | 4.41e-07 | 5.69e-07 | 1.03e-06 | 9.4e-07 | 4.6378e-07
613 | 2.8849 | 0 | 0 | 0 | 0 | 1.1853 | 0.85017 | 1.28e-06 | 6.16e-07 | 1.56e-06 | 1.91e-06 | 1.52e-06 | 1.87e-06 | 4.6003e-06
614 | 2.8346 | 0 | 0 | 0 | 0 | 1.051 | 1.0621 | 1.43e-06 | 2.75e-07 | 1.57e-06 | 1.03e-06 | 3.14e-06 | 4.94e-07 | 3.295e-06
615 | 2.8395 | 0 | 0 | 0 | 0 | 0.84318 | 1.2707 | 1.77e-06 | 1.28e-06 | 1.82e-06 | 2.39e-06 | 5.98e-07 | 4.32e-08 | 5.1919e-07
616 | 2.9215 | 0 | 0 | 0 | 0 | 0.63835 | 1.4767 | 3.97e-06 | 1.17e-06 | 2.22e-06 | 9.16e-07 | 1.29e-06 | 2.07e-06 | 1.0786e-07
617 | 3.1022 | 0 | 0 | 0 | 0 | 0.5164 | 1.7875 | 1.81e-06 | 2.29e-06 | 2.5e-08 | 2.39e-06 | 5.11e-07 | 5.62e-07 | 4.2902e-07
618 | 3.3717 | 0 | 0 | 0 | 0 | 0.32669 | 2.0857 | 1e-06 | 1.15e-06 | 6.19e-07 | 9.06e-07 | 9.05e-07 | 5.36e-07 | 1.0138e-06
619 | 3.6729 | 0 | 0 | 0 | 0 | 0.24997 | 2.4335 | 9.4e-07 | 9.53e-08 | 1.09e-06 | 5.58e-07 | 1.13e-06 | 9.24e-07 | 6.4057e-06
620 | 4.018 | 0 | 0 | 0 | 0 | 0.18357 | 2.7299 | 4.15e-07 | 1.04e-06 | 3.2e-07 | 1.44e-07 | 4.38e-07 | 1.48e-06 | 1.8127e-05
621 | 4.4043 | 0 | 0 | 0 | 0 | 0.153 | 3.1445 | 7.66e-07 | 3.69e-06 | 5.3e-07 | 2.87e-07 | 1.83e-06 | 9.32e-07 | 6.5615e-05
622 | 4.7447 | 0 | 0 | 0 | 0 | 0.13142 | 3.4294 | 1.4e-06 | 2.85e-07 | 1.05e-06 | 8.19e-07 | 7.21e-08 | 4.3e-07 | 0.00031014
623 | 5.1667 | 0 | 0 | 0 | 0 | 0.13 | 3.7696 | 5.1e-07 | 1.87e-06 | 2.13e-06 | 3.38e-07 | 9.19e-07 | 7.74e-07 | 0.0018822
624 | 5.6618 | 0 | 0 | 0 | 0 | 0.13 | 4.1042 | 5.13e-07 | 6.59e-07 | 1.54e-06 | 6.76e-07 | 1.51e-06 | 2.92e-07 | 0.015517
625 | 6.1859 | 0 | 0 | 0 | 0 | 0.107 | 4.6199 | 9.69e-08 | 1.36e-06 | 1.6e-06 | 9.65e-07 | 1.35e-06 | 6.58e-07 | 0.1432
626 | 6.7647 | 0 | 0 | 0 | 0 | 0.107 | 5.1168 | 1.86e-06 | 2.72e-07 | 8.07e-07 | 2.76e-06 | 1.7e-07 | 2.5e-06 | 0.60909
627 | 7.339 | 0 | 0 | 0 | 0 | 0.086928 | 5.6749 | 4.08e-06 | 6.63e-07 | 6.55e-07 | 9.65e-07 | 4.96e-07 | 5.3e-07 | 0.94261
628 | 7.9827 | 0 | 0 | 0 | 0 | 0.083545 | 6.1269 | 3.78e-06 | 1.42e-06 | 1.5e-06 | 6.09e-07 | 8.67e-08 | 1.93e-06 | 0.97023
629 | 8.5158 | 0 | 0 | 0 | 0 | 0.08351 | 6.711 | 1.02e-07 | 8.41e-08 | 1.86e-06 | 2.61e-07 | 1.68e-06 | 6.81e-07 | 0.96272
630 | 9.0394 | 0 | 0 | 0 | 0 | 0.10456 | 7.1373 | 2.52e-06 | 3.32e-07 | 1.86e-06 | 9.33e-07 | 6.24e-07 | 9.54e-07 | 0.97081
631 | 9.5203 | 0 | 0 | 0 | 0 | 0.107 | 7.5446 | 9.17e-08 | 6.15e-07 | 1.53e-06 | 7.97e-07 | 1.67e-06 | 6.16e-07 | 0.98227
632 | 9.8127 | 0 | 0 | 0 | 0 | 0.107 | 7.7989 | 4.34e-07 | 3.44e-07 | 2.15e-06 | 5.66e-07 | 2.05e-07 | 4.01e-07 | 0.98302
633 | 9.9711 | 0 | 0 | 0 | 0 | 0.083375 | 7.8151 | 1.32e-06 | 1.45e-06 | 1.06e-06 | 6.49e-07 | 3.4e-06 | 1.36e-06 | 0.97871
634 | 9.9511 | 0 | 0 | 0 | 0 | 0.083349 | 7.566 | 1.04e-06 | 1.03e-06 | 1.56e-07 | 1.85e-06 | 1.2e-06 | 7.23e-07 | 0.97753
635 | 9.5927 | 0 | 0 | 0 | 0 | 0.061854 | 7.1406 | 4.51e-07 | 2.08e-07 | 3.83e-06 | 1.42e-06 | 2.43e-07 | 2.15e-07 | 0.98016
636 | 8.9492 | 0 | 0 | 0 | 0 | 0.060086 | 6.6337 | 1.7e-06 | 1.63e-06 | 5.56e-07 | 1.55e-07 | 1.03e-07 | 4.45e-06 | 0.98242
637 | 8.11 | 0 | 0 | 0 | 0 | 0.060061 | 5.8199 | 1.15e-06 | 4.66e-07 | 1.37e-06 | 9.96e-07 | 1.27e-06 | 1.34e-06 | 0.98352
638 | 7.1498 | 0 | 0 | 0 | 0 | 0.060025 | 5.1429 | 3.95e-06 | 2.22e-06 | 5e-07 | 8.54e-07 | 1.92e-06 | 1.7e-06 | 0.98381
639 | 6.1868 | 0 | 0 | 0 | 0 | 0.059988 | 4.3814 | 4.31e-07 | 1.53e-06 | 1.69e-06 | 1.38e-06 | 6.49e-07 | 1.48e-06 | 0.98448
640 | 5.2881 | 0 | 0 | 0 | 0 | 0.059963 | 3.5874 | 2.7e-07 | 2.42e-06 | 1.94e-06 | 1.4e-06 | 2.47e-07 | 5.39e-07 | 0.98582
641 | 4.457 | 0 | 0 | 0 | 0 | 0.059925 | 3.1537 | 1.21e-06 | 1.3e-06 | 2.49e-06 | 1.3e-06 | 2.08e-06 | 1.78e-06 | 0.9859
642 | 3.8058 | 0 | 0 | 0 | 0 | 0.05989 | 2.5481 | 1.31e-06 | 1.14e-06 | 2.42e-07 | 1.39e-06 | 2.13e-06 | 6.72e-07 | 0.98454
643 | 3.1758 | 0 | 0 | 0 | 0 | 0.059856 | 2.1242 | 1.75e-06 | 5.6e-08 | 8.75e-07 | 1.42e-06 | 1.09e-06 | 8.84e-07 | 0.98229
644 | 2.6865 | 0 | 0 | 0 | 0 | 0.059828 | 1.7161 | 1.15e-06 | 1.62e-06 | 1.48e-07 | 5.16e-07 | 1.85e-07 | 1.01e-06 | 0.98066
645 | 2.2605 | 0 | 0 | 0 | 0 | 0.059792 | 1.4287 | 1.55e-07 | 7.52e-07 | 2e-06 | 1.63e-06 | 1.24e-06 | 3.72e-07 | 0.97964
646 | 1.9217 | 0 | 0 | 0 | 0 | 0.036569 | 1.1668 | 6.1e-07 | 2.66e-07 | 1e-06 | 1.33e-06 | 6.83e-07 | 1.98e-06 | 0.97953
647 | 1.6473 | 0 | 0 | 0 | 0 | 0.03654 | 0.963 | 3.57e-07 | 6.84e-07 | 1.32e-06 | 9.31e-07 | 1.09e-06 | 2.25e-06 | 0.98112
648 | 1.4273 | 0 | 0 | 0 | 0 | 0.036505 | 0.85369 | 1.33e-06 | 1.37e-06 | 8.83e-07 | 1.39e-06 | 1.12e-06 | 1.62e-07 | 0.98285
649 | 1.2338 | 0 | 0 | 0 | 0 | 0.036477 | 0.68752 | 1.26e-06 | 1.64e-06 | 5.04e-07 | 3.74e-07 | 1.64e-06 | 2.36e-06 | 0.98377
650 | 1.076 | 0 | 0 | 0 | 0 | 0.036442 | 0.57419 | 2.09e-06 | 4.97e-07 | 1.11e-06 | 4.47e-07 | 2.54e-08 | 2.39e-06 | 0.98387
651 | 0.9301 | 0 | 0 | 0 | 0 | 0.036405 | 0.50081 | 1.37e-06 | 1.79e-06 | 7.79e-07 | 2.3e-07 | 4.69e-07 | 1.8e-08 | 0.97649
652 | 0.83051 | 0 | 0 | 0 | 0 | 0.036369 | 0.42865 | 4.28e-07 | 6.16e-07 | 5.81e-07 | 1.21e-06 | 1.33e-07 | 3.93e-09 | 0.9453
653 | 0.69606 | 0 | 0 | 0 | 0 | 0.036344 | 0.36798 | 9.77e-07 | 1.46e-06 | 1.14e-06 | 8.45e-07 | 5.76e-07 | 4.5e-07 | 0.91957
654 | 0.61187 | 0 | 0 | 0 | 0 | 0.036306 | 0.32366 | 3.35e-07 | 2.43e-07 | 3.45e-07 | 1.22e-06 | 8.51e-07 | 2.86e-07 | 0.89093
655 | 0.56082 | 0 | 0 | 0 | 0 | 0.036271 | 0.26933 | 2.46e-07 | 1.29e-06 | 4.61e-07 | 8.67e-08 | 1.66e-06 | 1.01e-06 | 0.44877
656 | 0.50261 | 0 | 0 | 0 | 0 | 0.036236 | 0.23048 | 3.06e-07 | 6.22e-07 | 2.85e-08 | 1.82e-06 | 1.31e-06 | 2.59e-06 | 0.068008
657 | 0.44318 | 0 | 0 | 0 | 0 | 0.036208 | 0.19333 | 1.49e-06 | 1.57e-06 | 7.64e-08 | 1.02e-06 | 6.01e-07 | 1.12e-06 | 0.0083037
658 | 0.41217 | 0 | 0 | 0 | 0 | 0.036172 | 0.175 | 1.91e-06 | 1.52e-06 | 9.81e-08 | 1.01e-06 | 2.42e-06 | 5.93e-07 | 0.0014388
659 | 0.3598 | 0 | 0 | 0 | 0 | 0.036145 | 0.152 | 2.73e-06 | 4.3e-06 | 3.33e-07 | 5.42e-07 | 7.11e-07 | 1.06e-06 | 0.00032636
660 | 0.33699 | 0 | 0 | 0 | 0 | 0.03611 | 0.12901 | 9.68e-07 | 3.96e-06 | 1.31e-06 | 2.77e-06 | 1e-07 | 8.7e-07 | 9.0071e-05
661 | 0.30176 | 0 | 0 | 0 | 0 | 0.036074 | 0.11417 | 1.96e-06 | 3.65e-06 | 6.47e-07 | 6.22e-07 | 1.27e-06 | 6.99e-07 | 2.917e-05
662 | 0.28797 | 0 | 0 | 0 | 0 | 0.036037 | 0.106 | 3.08e-06 | 5.19e-07 | 1.11e-06 | 1.82e-06 | 1.43e-06 | 4.77e-07 | 9.3894e-06
663 | 0.25495 | 0 | 0 | 0 | 0 | 0.036012 | 0.082382 | 1.87e-06 | 2.21e-06 | 1.33e-06 | 1.92e-06 | 2.25e-06 | 8.58e-08 | 6.7136e-06
664 | 0.23271 | 0 | 0 | 0 | 0 | 0.035975 | 0.082354 | 1.82e-06 | 4.04e-07 | 5.17e-07 | 1.41e-06 | 2.36e-06 | 1.05e-06 | 7.8353e-06
665 | 0.22914 | 0 | 0 | 0 | 0 | 0.035939 | 0.059129 | 6.41e-07 | 4.5e-07 | 1.03e-06 | 2.82e-06 | 1.59e-06 | 2.53e-07 | 1.6335e-06
666 | 0.21319 | 0 | 0 | 0 | 0 | 0.035904 | 0.059096 | 1.59e-06 | 2.1e-06 | 2.42e-06 | 1.52e-06 | 1.15e-06 | 9.71e-07 | 4.2975e-06
667 | 0.20334 | 0 | 0 | 0 | 0 | 0.035828 | 0.05906 | 9.99e-07 | 4.84e-07 | 2.65e-07 | 4.4e-07 | 1.15e-06 | 1.59e-06 | 1.138e-06
668 | 0.1808 | 0 | 0 | 0 | 0 | 0.031363 | 0.059031 | 1.94e-06 | 7.3e-08 | 2.24e-07 | 4.45e-07 | 1.97e-06 | 2.31e-07 | 2.3531e-08
669 | 0.18585 | 0 | 0 | 0 | 0 | 0.022117 | 0.058995 | 2.03e-06 | 9.46e-08 | 1.66e-06 | 1.27e-06 | 4.32e-07 | 1.6e-06 | 7.3208e-07
670 | 0.19192 | 0 | 0 | 0 | 0 | 0.011527 | 0.04539 | 9.6e-08 | 2.53e-07 | 3.72e-07 | 1.2e-06 | 1.83e-07 | 1.25e-07 | 1.1635e-06
671 | 0.16517 | 0 | 0 | 0 | 0 | 0.0030257 | 0.035743 | 1.82e-07 | 9.21e-07 | 4.17e-06 | 3.07e-06 | 3.33e-07 | 7.7e-07 | 8.3316e-07
672 | 0.14756 | 0 | 0 | 0 | 0 | 0 | 0.035709 | 1.85e-07 | 1.93e-06 | 2.25e-06 | 8.46e-07 | 1.21e-06 | 1.49e-06 | 1.8179e-06
673 | 0.15169 | 0 | 0 | 0 | 0 | 0 | 0.035681 | 1.79e-06 | 2.17e-06 | 5.19e-07 | 5.37e-08 | 2.37e-06 | 1.91e-06 | 5.5873e-07
674 | 0.14612 | 0 | 0 | 0 | 0 | 0 | 0.032066 | 4.73e-06 | 1.47e-06 | 1.58e-06 | 9.3e-07 | 1.49e-06 | 1.17e-07 | 1.4923e-06
675 | 0.13437 | 0 | 0 | 0 | 0 | 0 | 0.023276 | 6.02e-08 | 2.44e-06 | 3.02e-06 | 2.51e-06 | 3.96e-07 | 2.56e-08 | 9.348e-07
676 | 0.14803 | 0 | 0 | 0 | 0 | 0 | 0.012725 | 2.49e-07 | 5.96e-07 | 1.33e-06 | 3.85e-07 | 7.68e-07 | 1.73e-07 | 7.49e-07
677 | 0.15734 | 0 | 0 | 0 | 0 | 0 | 0.0038282 | 2.67e-06 | 4.8e-07 | 1.28e-06 | 7.39e-07 | 5.84e-07 | 1.54e-06 | 2.0791e-07
678 | 0.15738 | 0 | 0 | 0 | 0 | 0 | 1.3813e-06 | 1.48e-06 | 3.92e-06 | 2.17e-06 | 2.72e-06 | 1.57e-06 | 8.17e-07 | 2.9867e-06
679 | 0.14144 | 0 | 0 | 0 | 0 | 0 | 0 | 1.07e-07 | 1.92e-06 | 1.06e-06 | 2.32e-06 | 2.14e-06 | 5.99e-07 | 1.1326e-06
680 | 0.1411 | 0 | 0 | 0 | 0 | 0 | 0 | 7.63e-07 | 7.64e-07 | 6.09e-08 | 1.77e-07 | 1.89e-06 | 5.78e-07 | 1.0551e-06
681 | 0.13938 | 0 | 0 | 0 | 0 | 0 | 0 | 6.77e-07 | 2.62e-06 | 4.54e-07 | 6.75e-08 | 1.59e-06 | 2.2e-06 | 2.9786e-07
682 | 0.16214 | 0 | 0 | 0 | 0 | 0 | 0 | 1.97e-06 | 2.63e-06 | 1.61e-06 | 3.97e-07 | 7.8e-07 | 6.95e-07 | 5.8884e-07
683 | 0.14012 | 0 | 0 | 0 | 0 | 0 | 0 | 5.44e-07 | 8.19e-07 | 1.15e-06 | 1.98e-06 | 7.69e-08 | 1.43e-06 | 2.0656e-06
684 | 0.11513 | 0 | 0 | 0 | 0 | 0 | 0 | 1.75e-08 | 1.09e-06 | 7.13e-07 | 1.83e-06 | 1.39e-06 | 8.27e-08 | 1.8087e-06
685 | 0.12255 | 0 | 0 | 0 | 0 | 0 | 0 | 6.79e-07 | 8.28e-07 | 7.36e-07 | 1.15e-07 | 1.35e-06 | 7.46e-07 | 7.1825e-07
686 | 0.13638 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3e-07 | 1.45e-06 | 1.08e-06 | 1.56e-06 | 7.1e-07 | 1.62e-06 | 8.9166e-08
687 | 0.14143 | 0 | 0 | 0 | 0 | 0 | 0 | 2.96e-06 | 2.75e-06 | 3.24e-06 | 2.27e-06 | 7.76e-07 | 1.49e-06 | 1.5539e-07
688 | 0.16813 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65e-06 | 1.25e-06 | 2.92e-06 | 6.16e-07 | 2.02e-06 | 1.34e-06 | 6.8821e-09
689 | 0.10677 | 0 | 0 | 0 | 0 | 0 | 0 | 3.96e-07 | 1.35e-06 | 4.84e-09 | 9.18e-07 | 1.56e-06 | 4.61e-07 | 1.2503e-07
690 | 0.12616 | 0 | 0 | 0 | 0 | 0 | 0 | 5.85e-07 | 6.14e-08 | 1.49e-06 | 8.45e-07 | 3.33e-06 | 1.41e-07 | 1.2772e-06
691 | 0.11841 | 0 | 0 | 0 | 0 | 0 | 0 | 1.71e-06 | 1.7e-06 | 5.23e-07 | 8.8e-07 | 2.69e-07 | 7.93e-07 | 1.0964e-08
692 | 0.11783 | 0 | 0 | 0 | 0 | 0 | 0 | 1.67e-07 | 1.39e-06 | 2.57e-06 | 1.12e-06 | 3.84e-07 | 1.07e-06 | 2.749e-07
693 | 0.15761 | 0 | 0 | 0 | 0 | 0 | 0 | 1.84e-06 | 1.56e-06 | 8.08e-07 | 5.83e-07 | 2.07e-06 | 3.11e-08 | 7.2164e-07
694 | 0.13122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.02e-07 | 3.47e-06 | 1.89e-06 | 2.3e-06 | 1.5e-07 | 1.14e-07 | 9.1787e-07
695 | 0.11831 | 0 | 0 | 0 | 0 | 0 | 0 | 1.29e-06 | 3.41e-06 | 1.61e-06 | 2.17e-06 | 1.41e-07 | 2.35e-06 | 1.1144e-06
696 | 0.12385 | 0 | 0 | 0 | 0 | 0 | 0 | 1.51e-06 | 3.31e-06 | 2.16e-06 | 5.12e-07 | 1.01e-06 | 6.11e-08 | 1.3109e-07
697 | 0.11889 | 0 | 0 | 0 | 0 | 0 | 0 | 4.63e-07 | 1.32e-06 | 1.34e-07 | 4.4e-07 | 1.62e-06 | 6.22e-07 | 7.3034e-07
698 | 0.12244 | 0 | 0 | 0 | 0 | 0 | 0 | 2.64e-06 | 4.23e-06 | 3.27e-06 | 2.12e-06 | 2.73e-06 | 1.1e-06 | 1.7463e-06
699 | 0.14268 | 0 | 0 | 0 | 0 | 0 | 0 | 1.71e-06 | 1.53e-06 | 1.04e-06 | 1.61e-07 | 7.91e-07 | 2.75e-07 | 7.7376e-08
700 | 0.1244 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-06 | 1.01e-06 | 2.24e-06 | 9.5e-07 | 2.15e-06 | 2.77e-07 | 1.4992e-07
701 | 0.12594 | 0 | 0 | 0 | 0 | 0 | 0 | 1.209e-06 | 4.1429e-06 | 7.8668e-07 | 1.2937e-07 | 7.9764e-07 | 1.527e-06 | 3.413e-06
702 | 0.17927 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4361e-06 | 6.7029e-07 | 6.5384e-07 | 1.2579e-06 | 9.8127e-07 | 6.8544e-07 | 3.0935e-06
703 | 0.15348 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7041e-07 | 4.1673e-06 | 3.3899e-06 | 1.7063e-06 | 1.413e-06 | 1.5323e-06 | 1.3065e-06
704 | 0.11403 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2525e-07 | 2.911e-07 | 4.1868e-06 | 2.2463e-06 | 4.9521e-06 | 1.4302e-06 | 1.966e-06
705 | 0.11421 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4106e-06 | 1.6762e-06 | 2.6415e-06 | 8.7809e-07 | 1.3455e-06 | 1.275e-06 | 7.0316e-07
706 | 0.15636 | 0 | 0 | 0 | 0 | 0 | 0 | 1.147e-06 | 6.0304e-07 | 4.4426e-07 | 3.8093e-09 | 5.0508e-07 | 9.2925e-07 | 4.9336e-07
707 | 0.14361 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4813e-07 | 3.1804e-06 | 9.7948e-07 | 2.0519e-06 | 4.5231e-07 | 1.6802e-07 | 3.6302e-07
708 | 0.20691 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2665e-07 | 5.4418e-07 | 1.401e-06 | 9.5484e-07 | 1.3207e-06 | 1.97e-06 | 1.4603e-06
709 | 0.17921 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8008e-06 | 1.3399e-06 | 9.3677e-08 | 4.7907e-07 | 3.617e-07 | 4.7925e-07 | 8.8624e-07
710 | 0.14788 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4432e-06 | 3.5231e-07 | 8.0227e-07 | 7.4817e-07 | 7.6966e-07 | 8.2449e-08 | 2.0998e-07
711 | 0.15624 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3102e-06 | 1.6669e-06 | 1.6542e-06 | 7.1546e-07 | 2.0416e-06 | 2.3867e-06 | 3.6171e-07
712 | 0.17148 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9536e-06 | 3.5452e-07 | 1.0071e-06 | 9.3182e-07 | 4.3753e-07 | 3.4426e-08 | 2.9343e-06
713 | 0.13789 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2236e-06 | 4.996e-07 | 4.9617e-07 | 1.5778e-06 | 1.9443e-06 | 1.6545e-06 | 7.3753e-07
714 | 0.15013 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6243e-06 | 9.6599e-07 | 6.7462e-07 | 1.4331e-06 | 1.8784e-06 | 3.8197e-07 | 7.6805e-07
715 | 0.14258 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8703e-06 | 1.7342e-06 | 8.7125e-08 | 5.0011e-07 | 2.3198e-07 | 5.6579e-07 | 8.8639e-07
716 | 0.11132 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4306e-06 | 3.1683e-06 | 1.9065e-07 | 1.5527e-06 | 9.672e-07 | 7.3642e-07 | 6.214e-07
717 | 0.11436 | 0 | 0 | 0 | 0 | 0 | 0 | 7.8854e-06 | 8.6005e-06 | 1.4463e-06 | 5.4479e-08 | 1.8171e-06 | 2.7603e-06 | 6.4065e-07
718 | 0.13605 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3086e-06 | 1.7808e-05 | 1.2428e-08 | 2.4115e-07 | 1.8926e-06 | 1.0199e-06 | 1.4453e-06
719 | 0.14242 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3826e-06 | 1.8619e-05 | 3.7204e-06 | 2.1921e-06 | 2.2681e-07 | 1.8276e-06 | 1.4447e-06
720 | 0.14057 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3685e-06 | 7.9601e-06 | 4.4512e-07 | 1.092e-06 | 1.3566e-06 | 9.3334e-07 | 6.4843e-07
721 | 0.1134 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8224e-06 | 2.4065e-06 | 8.6046e-07 | 3.6401e-08 | 2.7962e-07 | 2.3839e-06 | 9.7639e-07
722 | 0.12328 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7296e-07 | 5.0858e-06 | 8.3488e-07 | 4.7729e-06 | 1.2138e-06 | 4.2808e-07 | 2.4522e-07
723 | 0.11354 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1748e-06 | 6.736e-06 | 7.4116e-07 | 4.9311e-07 | 1.6176e-06 | 4.4829e-07 | 3.3781e-07
724 | 0.13184 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1482e-06 | 9.0681e-06 | 1.0379e-06 | 3.6286e-07 | 4.4673e-07 | 1.6732e-06 | 6.0613e-07
725 | 0.13636 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7839e-06 | 1.2082e-05 | 2.272e-07 | 1.6067e-06 | 7.0813e-07 | 1.16e-06 | 1.1205e-07
726 | 0.11684 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1551e-06 | 2.0614e-05 | 2.7455e-06 | 1.5812e-06 | 1.1822e-06 | 5.1487e-07 | 2.0555e-06
727 | 0.14687 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7758e-06 | 1.6074e-05 | 6.6873e-07 | 1.5708e-06 | 1.2984e-06 | 6.1929e-07 | 2.0791e-06
728 | 0.13729 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9815e-06 | 9.6693e-06 | 3.0276e-07 | 5.2931e-07 | 3.2469e-06 | 2.7936e-06 | 8.4937e-07
729 | 0.14462 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6927e-06 | 5.4443e-06 | 8.4078e-07 | 1.2182e-06 | 2.7252e-06 | 2.1003e-07 | 7.3467e-07
730 | 0.10482 | 0 | 0 | 0 | 0 | 0 | 0 | 9.865e-06 | 3.0728e-06 | 2.0371e-06 | 1.354e-06 | 6.2132e-07 | 3.4657e-07 | 1.6619e-06
731 | 0.11155 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2098e-05 | 3.3058e-07 | 1.4848e-06 | 1.2866e-06 | 1.4268e-06 | 2.1135e-06 | 1.6182e-06
732 | 0.17841 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0937e-05 | 1.8705e-07 | 1.4045e-06 | 8.2361e-07 | 2.546e-06 | 1.8246e-06 | 5.3779e-07
733 | 0.13468 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6404e-06 | 3.7751e-06 | 3.5239e-08 | 7.0005e-07 | 1.4536e-06 | 3.6505e-06 | 1.0668e-06
734 | 0.10432 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0489e-05 | 3.1228e-06 | 1.4684e-06 | 9.8817e-07 | 5.4371e-07 | 1.4777e-06 | 2.2098e-06
735 | 0.15478 | 0 | 0 | 0 | 0 | 0 | 0 | 1.113e-05 | 2.222e-06 | 3.178e-06 | 1.5219e-06 | 6.6049e-07 | 2.8277e-06 | 2.2953e-06
736 | 0.12195 | 0 | 0 | 0 | 0 | 0 | 0 | 1.025e-05 | 2.8155e-06 | 8.8293e-08 | 3.8831e-07 | 2.4359e-06 | 4.3722e-07 | 2.352e-06
737 | 0.12955 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6322e-05 | 5.8376e-06 | 3.232e-06 | 2.0179e-06 | 2.3863e-06 | 6.3659e-07 | 1.9722e-07
738 | 0.13905 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7282e-05 | 1.2186e-05 | 7.5502e-07 | 1.2986e-06 | 3.0167e-07 | 3.1984e-08 | 1.2698e-06
739 | 0.12281 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1699e-05 | 1.4014e-05 | 2.0793e-06 | 2.1251e-06 | 7.0702e-07 | 6.3667e-07 | 9.052e-07
740 | 0.16706 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1315e-05 | 1.4713e-05 | 2.7857e-06 | 7.7709e-08 | 7.242e-06 | 2.4454e-07 | 6.3335e-07
741 | 0.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8153e-05 | 1.4243e-05 | 4.8271e-06 | 2.8999e-06 | 1.8211e-06 | 5.6434e-07 | 7.9305e-07
742 | 0.14395 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4912e-05 | 9.0005e-06 | 9.2001e-07 | 6.3305e-07 | 4.3893e-07 | 3.1646e-07 | 3.5756e-06
743 | 0.14743 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5873e-05 | 1.6746e-05 | 1.0622e-06 | 1.0442e-06 | 1.4604e-06 | 1.4135e-06 | 8.7652e-07
744 | 0.12763 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8247e-05 | 9.694e-06 | 1.0308e-06 | 5.1708e-07 | 2.543e-07 | 2.2434e-07 | 1.1225e-06
745 | 0.13328 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1944e-05 | 9.8544e-06 | 2.8021e-06 | 1.2525e-07 | 1.7317e-06 | 2.1973e-06 | 9.7159e-07
746 | 0.1464 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8135e-05 | 1.2904e-05 | 1.3181e-06 | 2.1631e-06 | 5.9611e-07 | 3.2371e-06 | 1.0736e-06
747 | 0.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8463e-05 | 1.3539e-05 | 4.0441e-06 | 5.0906e-07 | 8.2371e-07 | 1.2919e-06 | 6.7272e-07
748 | 0.13766 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0754e-05 | 1.789e-05 | 3.9247e-06 | 2.2251e-06 | 1.8984e-06 | 3.1363e-07 | 1.2391e-06
749 | 0.13331 | 0 | 0 | 0 | 0 | 0 | 0 | 5.721e-05 | 1.4801e-05 | 2.7438e-06 | 1.3042e-09 | 1.4644e-06 | 1.066e-06 | 6.4495e-07
750 | 0.1615 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4154e-05 | 1.5152e-05 | 4.3769e-07 | 1.4648e-06 | 8.0691e-07 | 1.18e-06 | 1.6211e-07
751 | 0.14424 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8065e-05 | 1.3653e-05 | 6.9232e-07 | 1.1328e-06 | 1.9189e-06 | 4.3256e-06 | 1.9932e-07
752 | 0.16379 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4266e-05 | 1.9262e-05 | 3.5339e-06 | 2.4865e-06 | 2.6798e-07 | 5.3624e-07 | 4.3429e-07
753 | 0.14892 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0847e-05 | 1.8097e-05 | 1.0246e-06 | 1.2259e-06 | 2.6449e-07 | 4.3178e-08 | 2.8922e-06
754 | 0.18591 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1847e-06 | 2.0235e-05 | 2.3729e-07 | 6.8902e-07 | 2.1113e-06 | 4.292e-06 | 1.7288e-06
755 | 0.16407 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7622e-06 | 2.0151e-05 | 2.6108e-06 | 2.2641e-06 | 3.7773e-06 | 2.3945e-06 | 1.3051e-06
756 | 0.15751 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3677e-06 | 2.2772e-05 | 2.9036e-06 | 3.8248e-06 | 9.0775e-07 | 3.2086e-07 | 8.8506e-07
757 | 0.12521 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9046e-06 | 3.0524e-05 | 2.7611e-07 | 1.1867e-06 | 2.4473e-08 | 9.3048e-07 | 5.4569e-06
758 | 0.14736 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7212e-06 | 3.0439e-05 | 1.932e-06 | 1.8103e-07 | 6.5362e-07 | 1.3274e-07 | 6.3553e-07
759 | 0.18758 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8163e-06 | 2.7663e-05 | 2.7313e-07 | 8.4384e-07 | 3.6739e-06 | 3.2311e-07 | 7.6818e-07
760 | 0.17094 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5108e-06 | 1.5656e-05 | 3.252e-06 | 1.0995e-06 | 5.929e-07 | 1.6006e-06 | 3.3959e-06
761 | 0.16492 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4171e-06 | 1.031e-05 | 1.2706e-06 | 1.853e-06 | 6.8069e-07 | 5.9008e-07 | 1.5949e-06
762 | 0.15655 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5657e-06 | 8.0243e-06 | 1.2504e-06 | 4.0344e-07 | 6.0017e-07 | 6.1381e-07 | 2.0512e-06
763 | 0.13165 | 0 | 0 | 0 | 0 | 0 | 0 | 7.195e-06 | 3.5116e-06 | 1.8666e-06 | 2.1201e-06 | 2.5904e-06 | 8.4968e-07 | 2.8289e-06
764 | 0.15625 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5306e-05 | 4.9391e-06 | 2.4967e-06 | 2.8011e-06 | 2.4508e-09 | 6.8534e-07 | 2.8458e-06
765 | 0.14795 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0003e-05 | 4.5222e-06 | 5.9307e-07 | 1.5054e-06 | 2.5254e-07 | 2.5627e-07 | 6.0653e-06
766 | 0.16796 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3212e-05 | 4.2199e-06 | 7.6095e-07 | 3.2047e-07 | 7.023e-07 | 1.0278e-06 | 4.3897e-06
767 | 0.14702 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0907e-06 | 2.7667e-06 | 6.1957e-07 | 2.4518e-07 | 4.3449e-07 | 1.4774e-06 | 1.754e-06
768 | 0.12855 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1447e-05 | 1.4457e-06 | 1.4796e-06 | 1.8911e-06 | 5.9323e-07 | 5.4194e-07 | 4.0288e-06
769 | 0.15989 | 0 | 0 | 0 | 0 | 0 | 0 | 7.8029e-06 | 8.8028e-06 | 3.2667e-07 | 1.8269e-06 | 1.3464e-06 | 1.1637e-06 | 5.8582e-06
770 | 0.14324 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9388e-06 | 1.202e-05 | 1.772e-06 | 2.0946e-06 | 4.2854e-07 | 7.979e-07 | 2.7981e-06
771 | 0.16142 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6979e-06 | 1.6134e-05 | 1.4906e-07 | 1.1209e-06 | 2.2309e-06 | 1.3371e-07 | 2.8516e-06
772 | 0.15631 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827e-05 | 2.8509e-05 | 5.2463e-06 | 7.3247e-08 | 1.5253e-06 | 8.7132e-07 | 1.9278e-07
773 | 0.18437 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5476e-06 | 2.5868e-05 | 5.883e-07 | 1.6325e-06 | 1.9826e-07 | 2.8165e-06 | 3.776e-06
774 | 0.14026 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7655e-06 | 2.4101e-05 | 1.3431e-06 | 5.3925e-07 | 6.35e-07 | 3.6886e-07 | 1.0584e-06
775 | 0.17322 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2801e-05 | 2.2797e-05 | 3.7398e-06 | 2.4077e-06 | 1.2038e-06 | 1.0808e-06 | 1.7395e-06
776 | 0.13146 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9645e-05 | 1.1958e-05 | 4.6656e-06 | 2.1552e-06 | 1.1637e-07 | 1.7887e-06 | 8.4911e-07
777 | 0.15427 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8991e-05 | 1.4217e-05 | 2.8244e-06 | 3.6762e-06 | 1.1452e-06 | 7.9108e-07 | 4.4145e-06
778 | 0.35586 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6944e-05 | 1.8624e-05 | 1.4957e-06 | 3.7119e-07 | 3.2635e-06 | 1.3878e-06 | 1.7255e-06
779 | 0.16309 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8117e-05 | 1.9098e-05 | 1.1854e-07 | 4.1233e-07 | 5.4185e-07 | 2.5755e-07 | 2.4966e-07
780 | 0.15907 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3644e-05 | 3.1971e-05 | 6.3457e-06 | 1.0977e-07 | 3.2495e-07 | 8.8554e-07 | 2.6476e-06
781 | 0.19024 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8461e-05 | 3.2702e-05 | 1.6381e-06 | 1.8711e-07 | 6.5903e-07 | 1.5174e-06 | 4.4027e-06
782 | 0.19207 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2181e-05 | 3.2777e-05 | 9.326e-07 | 6.4199e-07 | 3.1548e-06 | 9.51e-07 | 3.5421e-07
783 | 0.22538 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8036e-06 | 2.9773e-05 | 2.1545e-06 | 2.0888e-06 | 3.8138e-07 | 2.2184e-06 | 2.8182e-06
784 | 0.17332 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1205e-05 | 2.8513e-05 | 3.2011e-06 | 9.513e-07 | 2.4659e-08 | 2.471e-06 | 8.921e-07
785 | 0.208 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2334e-06 | 2.4401e-05 | 1.1135e-06 | 1.5632e-07 | 1.5835e-06 | 1.0867e-07 | 4.3314e-06
786 | 0.17304 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5852e-06 | 2.6448e-05 | 1.5172e-06 | 1.8075e-06 | 1.4911e-06 | 3.0203e-07 | 2.9945e-06
787 | 0.23774 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3208e-06 | 1.9147e-05 | 1.0207e-06 | 9.7962e-07 | 1.0615e-06 | 8.7752e-07 | 5.6717e-07
788 | 0.17128 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5824e-06 | 1.8369e-05 | 1.6962e-06 | 1.0516e-06 | 2.1667e-06 | 2.9143e-07 | 1.0011e-06
789 | 0.20439 | 0 | 0 | 0 | 0 | 0 | 0 | 1.319e-05 | 1.9245e-05 | 3.5982e-06 | 9.2346e-07 | 1.7786e-06 | 1.332e-06 | 1.0337e-06
790 | 0.33995 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5141e-05 | 2.0365e-05 | 9.4445e-07 | 1.0784e-06 | 4.3201e-06 | 3.0121e-06 | 2.6156e-06
791 | 0.19049 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8241e-05 | 1.8025e-05 | 6.5264e-07 | 1.9261e-07 | 4.9842e-07 | 8.8257e-07 | 2.3688e-06
792 | 0.27452 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9208e-05 | 1.5634e-05 | 1.2496e-06 | 3.1927e-06 | 2.0339e-06 | 9.6232e-07 | 2.5165e-06
793 | 0.28103 | 0 | 0 | 0 | 0 | 0 | 0 | 3.743e-05 | 1.5157e-05 | 1.1218e-06 | 1.8365e-06 | 2.2182e-06 | 1.9749e-06 | 1.4004e-06
794 | 0.25538 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7967e-05 | 8.9802e-06 | 1.4837e-07 | 1.1631e-07 | 5.4244e-07 | 1.1129e-06 | 4.4132e-07
795 | 0.22862 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9668e-05 | 9.5239e-06 | 3.8092e-06 | 4.9134e-06 | 2.4296e-06 | 7.9629e-07 | 1.6435e-06
796 | 0.21004 | 0 | 0 | 0 | 0 | 0 | 0 | 3.056e-05 | 1.1484e-05 | 3.1897e-07 | 1.9094e-06 | 1.7904e-07 | 2.1594e-06 | 5.3956e-07
797 | 0.20563 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9305e-05 | 7.2293e-06 | 1.8407e-06 | 1.0389e-06 | 8.1443e-07 | 9.292e-08 | 1.806e-07
798 | 0.27941 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1034e-05 | 4.4371e-06 | 5.6504e-07 | 1.4054e-06 | 3.3928e-06 | 3.7274e-07 | 7.0508e-06
799 | 0.20869 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0028e-05 | 4.4521e-06 | 9.2093e-07 | 1.7483e-06 | 2.4929e-06 | 2.2996e-06 | 1.9236e-07
800 | 0.26254 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8497e-05 | 9.1429e-06 | 7.263e-06 | 7.3383e-07 | 2.9176e-06 | 6.9654e-06 | 5.3427e-06